Please Note:

This template is intended for educational purposes only, without any express or implied warranty of any kind, including warranties of accuracy, completeness, or fitness for any particular purpose.  You agree that your use of the template is without any recourse whatsoever to PG&E, SCE, SDG&E, or their affiliates. The template is a draft, and anyone using this document should seek the advice of an attorney to develop appropriate language to meet its jurisdiction’s specific needs, 
as state and local laws may differ.

Please contact the Codes and Standards Reach Codes Team at info@LocalEnergyCodes.com for additional information.

This program is funded by California utility customers and administered by Pacific Gas and Electric Company, San Diego Gas & Electric Company (SDG&E®), and Southern California Edison Company under the auspices of the California Public Utilities Commission and in support of the California Energy Commission.

VERSION 1.0, 7/22/2022

This document is intended as a compliance tool for typical local renovation reach codes.  It should be modified to suit local requirements (especially blue italicized text).

Infiltration Checklist DRAFT

PROJECT ADDRESS: _____________________________________________________________________

APN:___________________ APPLICANT NAME: _______________________________________________

Every dwelling unit needs to be air sealed as thoroughly as economically possible. Every effort should be made to seal the by-passes in the home with the proper materials and weatherization techniques.  The following is a list of common by-passes. Note: All by-passes found in the dwelling unit must be sealed, even if not covered on this list.

| Location | Sealed as Part of Project | Already Sealed | Not Present | Infeasible (specify) |
| --- | --- | --- | --- | --- |
| Attics |  |  |  |  |
| Plumbing chase |  |  |  |  |
| Plumbing soil stack |  |  |  |  |
| Furnace/Water heater flue chase |  |  |  |  |
| Top plate (interior & exterior walls) |  |  |  |  |
| Wire penetrations |  |  |  |  |
| Exhaust fans |  |  |  |  |
| Ceiling mounted junction boxes |  |  |  |  |
| Recessed lights |  |  |  |  |
| Fireplace/chimney chase |  |  |  |  |
| Missing fireplace flue damper |  |  |  |  |
| Soffits above interior cabinets |  |  |  |  |
| Dropped ceilings |  |  |  |  |
| Attic stairway stud spaces |  |  |  |  |
| Balloon framing wall/ceiling cavity |  |  |  |  |
| Whole house fan |  |  |  |  |
| Joist cavities beneath knee walls |  |  |  |  |
| Area above laundry chute |  |  |  |  |
| Dumb waiter shaft |  |  |  |  |
| Duct plenum |  |  |  |  |
| Duct penetrations (wall & ceilings) |  |  |  |  |
| Plaster and lath voids |  |  |  |  |
| Attic hatch |  |  |  |  |
| Fold away attic stairways |  |  |  |  |
| Basement & Crawlspaces |  |  |  |  |
| Plumbing stack |  |  |  |  |
| Bathtub trap |  |  |  |  |
| Wire penetrations |  |  |  |  |
| Plumbing penetrations |  |  |  |  |
| Duct shafts |  |  |  |  |
| Duct penetrations |  |  |  |  |
| Chimney or flue |  |  |  |  |
| Balloon framing wall cavity |  |  |  |  |
| Basement/crawlspace or slab interface |  |  |  |  |
| Utilities entries |  |  |  |  |
| Dryer vents |  |  |  |  |
| Sill plate |  |  |  |  |
| Foundation cracks or holes |  |  |  |  |
| Inside Dwelling |  |  |  |  |
| Door weatherstripping |  |  |  |  |
| Door bottoms |  |  |  |  |
| Dropped ceiling |  |  |  |  |
| Floor trim |  |  |  |  |
| Ceiling trim |  |  |  |  |
| Outlets/switches |  |  |  |  |
| Wall mounted fixtures |  |  |  |  |
| Wall mounted exhaust fans |  |  |  |  |
| Medicine cabinets |  |  |  |  |
| Plumbing penetrations beneath sinks |  |  |  |  |
| Bathtub cutouts |  |  |  |  |
| Plumbing access hatch |  |  |  |  |
| Permanent window air conditioners |  |  |  |  |
| Cracks or holes in exterior/interior walls |  |  |  |  |
| Panned returns (floor & wall cavities) |  |  |  |  |

This form has been completed by _________________(name) of ________________(company), the party responsible for this building permit application for the above listed project who verifies that it accurately represents the project plans. [modify based on local verification requirements]

________________________________			______________

Signature							Date

________________________________

Printed Name

This list was based largely on a document from the Florida Department of Economic Opportunity.