REACH CODE IMPLEMENTATION RESOURCES TEMPLATE

SINGLE FAMILY ADDITIONS and ALTERATIONS (FLEX PATH)

This template is provided to assist local jurisdictions with the implementation of adopted reach codes.  It is not intended to provide guidance on the development of a reach code ordinance.  Anyone developing a reach code ordinance should seek the advice of an attorney to develop appropriate ordinance language to meet its jurisdiction’s specific needs, as state and local laws may differ. This template is intended for educational purposes only, without any express or implied warranty of any kind, including warranties of accuracy, completeness, or fitness for any particular purpose. You agree that your use of the template is without any recourse whatsoever to the developers of this document.

This document is intended as a compliance tool for typical 2022 local reach codes.  It should be modified to suit local requirements (especially blue italicized text).

Version 1.1, April 2024

Instructions

- Make modification following instructions and options  in blue text.   DELETE ALL BLUE TEXT BEFORE PUBLISHING

- Update cover page to align with jurisdiction’s definitions. A cover page, which includes a definition of the occupancy and trigger event, is intended to accompany each form. If the cover page is not used, add the definition to each form.

- Delete this credits page.

This document is the product of a collaborative effort:

Building Decarbonization Coalition

BayREN

East Bay Community Energy

Peninsula Clean Energy

Silicon Valley Clean Energy

Statewide Utility Codes and Standards Program: Reach Codes*

& Staff from Multiple California Jurisdictions, and Marin County in particular.

For additional information contact info@LocalEnergyCodes.com

*The IOU Statewide Codes and Standards program is funded by California utility customers and administered by Pacific Gas and Electric Company, San Diego Gas & Electric Company (SDG&E®), Southern California Edison Company under the auspices of the California Public Utilities Commission and in support of the California Energy Commission.

[This form is to be used for exceptions to the Flex Path approach. It enables applicants to get credits for infeasible measures that were used to establish the Target Score as well as other exceptions.]

Section 1: Exception Type [modify as needed]

The building is a Mobile Home, Manufactured Home, or Factory-built House as defined in Division 13 of the California Health and Safety 12 Code (commencing with Section 17000 of the Health and Safety Code).

Technical Infeasibility. Due to conditions specific to the project, it is technically infeasible to achieve compliance.  The Building Administrator may reduce the Required Minimum Score and/or waive specific mandatory requirements based on a standard set of exceptions.  Complete Section 2.

The Energy Budget of the building under the proposed project is less than or equal to the Energy Budget of the Proposed Building Project it included any set of measures that would achieve compliance under this Section.  Performance calculations are required. Attach performance compliance reports for both scenarios and input values below.

|  | - Energy Budget of Proposed Design |
| --- | --- |
|  | - Energy Budget of Design that includes measures that satisfy the State Energy Code as well as the Target Score and Mandatory measure requirements of the ordinance. |

Other (specify): ___________________________________________________

- Submit a narrative explaining the request.

Section 2: Technical Infeasibility

A. Reduction of Target Score

The Target Score may be reduced if certain measures are eligible for standard exceptions.  Enter the value for the exceptions that you are claiming in the Credits Claimed column of Table 1, Credits for Excepted Measures below, and calculate the proposed score using the instructions in the table.  To claim a credit for a measure, it must meet the conditions in Table 2 Standard Exceptions.  Documentation supporting claim for each excepted measure must be provided.

[Delete any measures that are not cost-effective for any vintage.  Enter “na” for any measures that are not cost-effective or applicable for a particular vintage.  Enter value of the measure credit for all other measures. Add additional tables for multiple climate zones.]

| # Table 1. Standard Exception Credits |  |  |  |  |
| --- | --- | --- | --- | --- |
| Measures | Vintage |  |  | Credits Claimed |
|  | Pre-1978 | 1979-1991 | 1992-2010 |  |
| Select your Vintage |  |  |  |  |
| Attic Insulation |  |  |  |  |
| Floor Insulation |  |  |  |  |
| Air Sealing |  |  |  |  |
| New Ducts and Duct Sealing |  |  |  |  |
| Duct Sealing |  |  |  |  |
| Windows |  |  |  |  |
| PV |  |  |  |  |
| a) Total Credits Claimed |  |  |  |  |
| b) Required Target Score without exceptions |  |  |  |  |
| c) Proposed Target Score (b minus a) |  |  |  |  |

| # Table 2. Standard Exceptions |  |  |
| --- | --- | --- |
| R-49 Attic Insulation |  |  |
|  |  | Buildings where the alteration would directly cause the disturbance of asbestos unless the alteration is made in conjunction with asbestos abatement. |
|  |  | Buildings with knob and tube wiring located in the vented attic. |
|  |  | Where the attic space directly above the altered dwelling unit is shared with other dwelling units, with no firewall separation and the attic insulation requirement is not triggered for the other dwelling units. |
|  |  | Unvented attics. |
| Floor Insulation |  |  |
|  |  | Slab on grade construction or inaccessible crawl space. |
| Air Sealing |  |  |
|  |  | Buildings that can demonstrate blower door test results showing five ACH50 or lower or can otherwise demonstrate that air sealing meeting the requirements of this section was conducted within the last 12 months. |
| New Ducts and Duct Sealing or Duct Sealing only |  |  |
|  |  | All exceptions as stated in the 2022 Title 24 Section 150.2(b)1E are allowed. |
|  |  | Buildings without ductwork or where all ducts are in conditioned space. |
| Windows |  |  |
|  | All exceptions as stated in the 2019 Title 24 Section 150.1(c)3A are allowed. |  |
|  | Buildings where it is not feasible to meet the requirements as a result of historic preservation design guidelines or other reasons as determined by the jurisdiction. |  |
|  | The measure is beyond the authority of the homeowner as defined in applicable Homeowner’s Association (HOA) covenants, conditions, or restrictions. |  |
| PV |  |  |
|  |  | All exceptions for PV as stated in the 2022 Title 24 Section 150.1(c)14 are allowed. The requirement to upgrade the electric panel and pre-wire end uses to claim the Solar PV + credit may be waived if the existing main service panel can be documented by an electrician or engineer to have sufficient capacity for the following electrical appliances: space heating, water heating, cooking, clothes drying, energy storage and Level 2 electric vehicle service equipment. To claim this exception provide supporting documentation, including load calculations, from a licensed electrical engineer or electrician. |

Section 3: Verification

This form has been completed by _________________(name) of ________________(company), the qualified [specify credentials based on local practice, e.g., architect, engineer, project manager] individual for the above listed project who verifies that it accurately represents the project plans. [modify based on local verification requirements]

Section 4: Approval/Denial

RESERVED FOR USE BY BUILDING DEPARTMENT - Approved as Submitted - Approved as Marked Up - Denied ______________________________________ _________________ Signature Plan Checker Date ______________________________________ Printed Name Plan Checker