## Directory
Data for "Nonresidential New Construction Reach Code Cost Effectiveness Study"
Prepared by:
436 14th St #1020
Oakland, CA 94612
206-486-1746
Prepared for: Amy Discher, Codes and Standards Program Southern California Edison
November 5, 2023
Directory
| Result Category | Result Tab | Description
| Definition | Definition | Package and prototype definitions, and any acronyms contained
| Cost-Effectiveness Results | MO | Medium office cost-effectiveness analysis results
|  | SH | Small Hotel cost-effectiveness analysis results
| Baseline Model Results | Baseline | Energy simulations and utility cost estimates for baseline model

## Definition
Prototype List
Packages | Definition
MO | Medium Office
SH | Small Hotel
Acronym List
Acronym | Definition
B/C | Benefit-to-Cost Ratio
CZ | Climate Zone
GHG | Greenhouse Gas
IOU | Investor-Owned Utility
kWh | Kilowatt Hour
NPV | Net Present Value
TDV | Time Dependent Valuation
Packages List |  |  | Applicable Prototype(s)
Packages | Definition | Description | MO | SH
mf-eff3.0SP1 | Mixed Fuel + Energy Efficiency | Mixed-fuel prescriptive building per 2022 Title 24 requirements, including additional efficiency measures. | ● | ●
mf-effx3.0SP1 | Mixed Fuel + Energy Efficiency Extended | Mixed-fuel prescriptive building per 2022 Title 24 requirements, including additional efficiency measures and two non-modelable measures. |  | ●
ae-AWHP3.0SP1 | All Electric Code Minimum Efficiency | All-electric building to minimum Title 24 prescriptive standards and federal minimum efficiency standards. This package has the same PV size as mixed-fuel prescriptive baseline. | ● | ●
ae-eff3.0SP1 | All Electric + Energy Efficiency | All-electric building with added energy efficiency measures. | ● | ●
ae-effx3.0SP1 | All Electric Energy Efficiency + Energy Efficiency Extended | All-electric building with added energy efficiency measures and two non-modelable measures. |  | ●
ae-efflf3.0SP1 | All Electric Energy Efficiency + Load Flexibility | All-electric building with added energy efficiency and load flexibility measures. | ●
ae-effpv3.0SP1 | All Electric + Energy Efficiency + Additional Solar PV | All-electric building with added energy efficiency and solar PV, over and above 2022 Title 24 PV requirements |  | ●
ae-effxpv3.0SP1 | All Electric + Energy Efficiency Extended + Additional Solar PV | All-electric building with added energy efficiency and solar PV, over and above 2022 Title 24 PV requirements and two non-modelable measures |  | ●
ae-codept3.0SP1 | All Electric Code Minimum Efficiency with PTHP HVAC type | (Hotel only) All-electric building to minimum Title 24 prescriptive standards and federal minimum efficiency standards, but uses Packaged Terminal Heat Pump (PTHP) instead of Single Zone ducted Heat Pump (SZHP). It is compared against Single Zone Air Conditioner (SZAC) with gas furnace baseline, similar to ae-code. |  | ●
Notes:
1. Small Hotel all-electric packages do include electric laundry cost and energy impacts
2. We calculated compliance metrics (Eff TDV, Total TDV, and Source) using direct software outputs with standard design ACM as baseline.
3. "Baseline" tab has energy smulation results as reportted by CBECC software for the assumed baseline model against which the proposed packages are compared.

## MO
Package | CZ | IOU territory | Annual Elec Savings (kWh) | Annual Gas Savings (therms) | Annual GHG savings (tons) | Upfront Incremental Package Cost | Lifecycle Energy Cost Savings | Lifecycle $TDV Savings | B/C Ratio (On-bill) | B/C Ratio (TDV) | NPV (On-bill) | NPV (TDV) | Efficiency TDV Margin (CBECC) | Total TDV Compliance Margin (CBECC) | Source kBtu Margin (CBECC)
mo-nc-mf-eff3.0SP1 | cz01 | PG&E | 8002.3027 | -161.3567 | 0.14 | 0 | 31261.9858 | 14780.2082 | >1 | >1 | 31261.9858 | 14780.2082 | 9.871% | 47.5% | 13.15% | 27.48%
mo-nc-mf-eff3.0SP1 | cz02 | PG&E | 11172.8319 | -136.4226 | 0.61 | 12296 | 49009.359 | 24546.9867 | 3.9858 | 1.9963 | 36713.359 | 12250.9867 | 8.39% | 121.4% | 22.6% | 45.24%
mo-nc-mf-eff3.0SP1 | cz03 | PG&E | 8617.0759 | -90.4174 | 0.59 | 0 | 35627.5965 | 18095.3271 | >1 | >1 | 35627.5965 | 18095.3271 | 7.24% | 510.2% | 18.08% | 49.75%
mo-nc-mf-eff3.0SP1 | cz04 | PG&E | 9553.6824 | -83.9664 | 0.76 | 715 | 40005.9351 | 21117.6328 | 55.9524 | 29.5352 | 39290.9351 | 20402.6328 | 6.382% | 32.56% | 24.47% | 14.93%
mo-nc-mf-eff3.0SP1 | cz04-2 | CPAU | 9553.6824 | -83.9664 | 0.76 | 715 | 23548.535 | 21117.6328 | 32.935 | 29.5352 | 22833.535 | 20402.6328 | 6.382% | 32.56% | 24.47% | 14.93%
mo-nc-mf-eff3.0SP1 | cz05 | PG&E | 8756.1036 | -91.7787 | 0.58 | 0 | 35809.2001 | 17584.7051 | >1 | >1 | 35809.2001 | 17584.7051 | 8.518% | 58.32% | 24.24% | 47.59%
mo-nc-mf-eff3.0SP1 | cz05-2 | SCG | 8756.1036 | -91.7787 | 0.58 | 0 | 36631.3372 | 17584.7051 | >1 | >1 | 36631.3372 | 17584.7051 | 8.518% | 58.32% | 24.24% | 47.59%
mo-nc-mf-eff3.0SP1 | cz06 | SCE | 13280.5638 | -77.1895 | 1.04 | 13011 | 37293.9852 | 29450.4742 | 2.8663 | 2.2635 | 24282.9852 | 16439.4742 | 6.159% | 37.37% | 37.1% | 17.01%
mo-nc-mf-eff3.0SP1 | cz07 | SDG&E | 12568.5924 | -64.6882 | 1.1 | 13011 | 51223.3739 | 27112.3139 | 3.9369 | 2.0838 | 38212.3739 | 14101.3139 | 6.861% | 35.56% | 48.27% | 16.85%
mo-nc-mf-eff3.0SP1 | cz08 | SCE | 14242.1922 | -76.023 | 1.15 | 13011 | 39105.4678 | 32894.3745 | 3.0056 | 2.5282 | 26094.4678 | 19883.3745 | 7.022% | 100.4% | 34.38% | 55.54%
mo-nc-mf-eff3.0SP1 | cz09 | SCE | 10363.9187 | -50.3052 | 1.03 | 715 | 29531.5137 | 24545.6185 | 41.3028 | 34.3295 | 28816.5137 | 23830.6185 | 5.37% | 81.88% | 30.49% | 42.91%
mo-nc-mf-eff3.0SP1 | cz10 | SDG&E | 10602.5528 | -53.9185 | 1.02 | 715 | 43520.4065 | 24505.6213 | 60.8677 | 34.2736 | 42805.4065 | 23790.6213 | 5.309% | 308.5% | 23.95% | 37.95%
mo-nc-mf-eff3.0SP1 | cz10-2 | SCE | 10602.5528 | -53.9185 | 1.02 | 715 | 29689.4906 | 24505.6213 | 41.5238 | 34.2736 | 28974.4906 | 23790.6213 | 5.309% | 308.5% | 23.95% | 37.95%
mo-nc-mf-eff3.0SP1 | cz11 | PG&E | 10045.2859 | -83.031 | 0.84 | 715 | 41379.12 | 22347.1276 | 57.8729 | 31.2547 | 40664.12 | 21632.1276 | 5.43% | 23.62% | 13.53% | 9.134%
mo-nc-mf-eff3.0SP1 | cz12 | PG&E | 9892.1583 | -87.4085 | 0.76 | 715 | 41982.1981 | 21434.1157 | 58.7164 | 29.9778 | 41267.1981 | 20719.1157 | 6.779% | 73.49% | 20.31% | 24.4%
mo-nc-mf-eff3.0SP1 | cz12-2 | SMUD | 9892.1583 | -87.4085 | 0.76 | 715 | 19469.2762 | 21434.1157 | 27.2298 | 29.9778 | 18754.2762 | 20719.1157 | 6.779% | 73.49% | 20.31% | 24.4%
mo-nc-mf-eff3.0SP1 | cz13 | PG&E | 10360.9256 | -70.2159 | 0.95 | 715 | 44447.3771 | 23694.279 | 62.1642 | 33.1389 | 43732.3771 | 22979.279 | 5.215% | 26.73% | 15.54% | 9.027%
mo-nc-mf-eff3.0SP1 | cz14 | SDG&E | 10103.9187 | -77.7534 | 0.96 | 715 | 41422.5575 | 24802.1885 | 57.9336 | 34.6884 | 40707.5575 | 24087.1885 | 5.44% | 119.7% | 17.56% | 29.82%
mo-nc-mf-eff3.0SP1 | cz14-2 | SCE | 10103.9187 | -77.7534 | 0.96 | 715 | 28968.3936 | 24802.1885 | 40.5152 | 34.6884 | 28253.3936 | 24087.1885 | 5.44% | 119.7% | 17.56% | 29.82%
mo-nc-mf-eff3.0SP1 | cz15 | SCE | 11174.2057 | -28.8177 | 1.34 | 715 | 32311.8389 | 27140.4564 | 45.1914 | 37.9587 | 31596.8389 | 26425.4564 | 3.856% | 31.71% | 17.1% | 7.619%
mo-nc-mf-eff3.0SP1 | cz16 | PG&E | 9045.1917 | -123.0647 | 0.49 | 0 | 37204.6954 | 17304.935 | >1 | >1 | 37204.6954 | 17304.935 | 7.229% | 168.8% | 11.84% | 34.89%
Package | CZ | IOU territory | Annual Elec Savings (kWh) | Annual Gas Savings (therms) | Annual GHG savings (tons) | Upfront Incremental Package Cost | Lifecycle Energy Cost Savings | Lifecycle $TDV Savings | B/C Ratio (On-bill) | B/C Ratio (TDV) | NPV (On-bill) | NPV (TDV) | Efficiency TDV Margin (CBECC) | Total TDV Compliance Margin (CBECC) | Source kBtu Margin (CBECC)
mo-nc-ae-AWHP3.0SP1 | cz01 | PG&E | -45319.9281 | 5401.1511 | 18.44 | 272325.51 | 2374.4136 | -33610.8667 | 0.008719 | -0.12342 | -269951.0964 | -305936.3766 | -3.561% | -17.24% | 59.73% | -17.24%
mo-nc-ae-AWHP3.0SP1 | cz02 | PG&E | -28350.6415 | 3339.876 | 10.71 | 279328.802 | 7864.8682 | 2829.3904 | 0.028156 | 0.010129 | -271463.9337 | -276499.4115 | 4.597% | 62.47% | 68.05% | 41%
mo-nc-ae-AWHP3.0SP1 | cz03 | PG&E | -22497.3287 | 2733.8671 | 8.85 | 288579.4043 | 8690.1437 | 3142.6581 | 0.030114 | 0.01089 | -279889.2607 | -285436.7462 | 3.815% | 213.1% | 65.63% | 61.51%
mo-nc-ae-AWHP3.0SP1 | cz04 | PG&E | -18631.6465 | 2209.4956 | 7.02 | 287974.8118 | 7649.4462 | 1241.9453 | 0.026563 | 0.0043127 | -280325.3657 | -286732.8665 | 3.035% | 16.26% | 71.87% | 19.77%
mo-nc-ae-AWHP3.0SP1 | cz04-2 | CPAU | -18631.6465 | 2209.4956 | 7.02 | 287974.8118 | 62119.934 | 1241.9453 | 0.21571 | 0.0043127 | -225854.8778 | -286732.8665 | 3.035% | 16.26% | 71.87% | 19.77%
mo-nc-ae-AWHP3.0SP1 | cz05 | PG&E | -22166.3834 | 2641.588 | 8.53 | 280502.4591 | 12450.2792 | -4716.0708 | 0.044386 | -0.016813 | -268052.1799 | -285218.5299 | 2.908% | 20.54% | 74.22% | 37.5%
mo-nc-ae-AWHP3.0SP1 | cz05-2 | SCG | -22166.3834 | 2641.588 | 8.53 | 280502.4591 | -11067.6543 | -4716.0708 | -0.039457 | -0.016813 | -291570.1134 | -285218.5299 | 2.908% | 20.54% | 74.22% | 37.5%
mo-nc-ae-AWHP3.0SP1 | cz06 | SCE | -9107.6514 | 1096.1352 | 3.46 | 187268.4233 | 13837.4813 | 611.8235 | 0.073891 | 0.0032671 | -173430.9419 | -186656.5997 | 0.4527% | 2.965% | 80.46% | 4.335%
mo-nc-ae-AWHP3.0SP1 | cz07 | SDG&E | -5842.0336 | 727.8215 | 2.34 | 192587.2225 | 5979.5898 | 1619.3152 | 0.031049 | 0.0084082 | -186607.6327 | -190967.9073 | 1.127% | 5.911% | 84.27% | 9.005%
mo-nc-ae-AWHP3.0SP1 | cz08 | SCE | -7925.6086 | 934.9042 | 2.89 | 190320.4254 | 12302.4155 | -661.618 | 0.064641 | -0.0034763 | -178018.0099 | -190982.0434 | 1.332% | 20.09% | 54.8% | 24.65%
mo-nc-ae-AWHP3.0SP1 | cz09 | SCE | -10099.568 | 1161.1161 | 3.56 | 185718.6935 | 14080.1866 | -576.1149 | 0.075815 | -0.0031021 | -171638.5069 | -186294.8085 | 1.223% | 20.26% | 60.98% | 37.4%
mo-nc-ae-AWHP3.0SP1 | cz10 | SDG&E | -13541.4272 | 1532.6242 | 4.5 | 287480.5653 | 8097.0161 | 14.3291 | 0.028165 | 4.9844e-05 | -279383.5491 | -287466.2361 | 1.571% | 74.62% | 52.68% | 30.69%
mo-nc-ae-AWHP3.0SP1 | cz10-2 | SCE | -13541.4272 | 1532.6242 | 4.5 | 287480.5653 | 15390.4467 | 14.3291 | 0.053536 | 4.9844e-05 | -272090.1185 | -287466.2361 | 1.571% | 74.62% | 52.68% | 30.69%
mo-nc-ae-AWHP3.0SP1 | cz11 | PG&E | -30836.2306 | 3446.6817 | 10.36 | 286637.9874 | 7068.0467 | -662.1354 | 0.024658 | -0.00231 | -279569.9407 | -287300.1228 | 2.423% | 10.2% | 48.19% | 8.561%
mo-nc-ae-AWHP3.0SP1 | cz12 | PG&E | -26067.9051 | 3007.6904 | 9.27 | 287897.356 | 7005.9113 | -417.0963 | 0.024335 | -0.0014488 | -280891.4447 | -288314.4523 | 2.774% | 30.41% | 56.17% | 19.24%
mo-nc-ae-AWHP3.0SP1 | cz12-2 | SMUD | -26067.9051 | 3007.6904 | 9.27 | 287897.356 | 60877.0169 | -417.0963 | 0.21145 | -0.0014488 | -227020.3391 | -288314.4523 | 2.774% | 30.41% | 56.17% | 19.24%
mo-nc-ae-AWHP3.0SP1 | cz13 | PG&E | -22116.6457 | 2490.4645 | 7.4 | 287881.1307 | 11738.4568 | -2539.2937 | 0.040775 | -0.0088206 | -276142.6739 | -290420.4245 | 1.747% | 8.693% | 43.79% | 6.892%
mo-nc-ae-AWHP3.0SP1 | cz14 | SDG&E | -31494.5496 | 3325.2664 | 9.36 | 278866.4062 | 2585.166 | -7122.9204 | 0.0092703 | -0.025542 | -276281.2402 | -285989.3266 | 1.137% | 22.98% | 57.76% | 13.41%
mo-nc-ae-AWHP3.0SP1 | cz14-2 | SCE | -31494.5496 | 3325.2664 | 9.36 | 278866.4062 | 17202.0197 | -7122.9204 | 0.061686 | -0.025542 | -261664.3866 | -285989.3266 | 1.137% | 22.98% | 57.76% | 13.41%
mo-nc-ae-AWHP3.0SP1 | cz15 | SCE | -6033.7939 | 660.8423 | 1.87 | 187677.8497 | 9218.0829 | -1427.9538 | 0.049117 | -0.0076085 | -178459.7668 | -189105.8035 | 0.7028% | 5.74% | 22.29% | 4.658%
mo-nc-ae-AWHP3.0SP1 | cz16 | PG&E | -61437.8395 | 6284.5307 | 19.56 | 273116.8415 | -46143.9667 | -68333.8707 | -0.16895 | -0.2502 | -319260.8082 | -341450.7122 | -10.4% | -238.1% | 58.97% | -91.86%
Package | CZ | IOU territory | Annual Elec Savings (kWh) | Annual Gas Savings (therms) | Annual GHG savings (tons) | Upfront Incremental Package Cost | Lifecycle Energy Cost Savings | Lifecycle $TDV Savings | B/C Ratio (On-bill) | B/C Ratio (TDV) | NPV (On-bill) | NPV (TDV) | Efficiency TDV Margin (CBECC) | Total TDV Compliance Margin (CBECC) | Source kBtu Margin (CBECC)
mo-nc-ae-eff3.0SP1 | cz01 | PG&E | -38703.6042 | 5401.1511 | 19.15 | 272325.51 | 32529.9862 | -19703.4822 | 0.11945 | -0.072353 | -239795.5237 | -292028.9922 | 0.3666% | 1.71% | 61.56% | 1.71%
mo-nc-ae-eff3.0SP1 | cz02 | PG&E | -18312.928 | 3339.876 | 11.78 | 291624.802 | 56383.3099 | 27791.2161 | 0.19334 | 0.095298 | -235241.4921 | -263833.5858 | 9.036% | 130.6% | 72.46% | 83.35%
mo-nc-ae-eff3.0SP1 | cz03 | PG&E | -14613.4281 | 2733.8671 | 9.77 | 288579.4043 | 44276.4126 | 21415.2416 | 0.15343 | 0.074209 | -244302.9917 | -267164.1627 | 8.111% | 569.3% | 70.38% | 138.8%
mo-nc-ae-eff3.0SP1 | cz04 | PG&E | -9772.8439 | 2209.4956 | 8.08 | 288689.8118 | 47591.0537 | 22563.8327 | 0.16485 | 0.078159 | -241098.7581 | -266125.9792 | 6.693% | 34.13% | 78.14% | 40.03%
mo-nc-ae-eff3.0SP1 | cz04-2 | CPAU | -9772.8439 | 2209.4956 | 8.08 | 288689.8118 | 86796.4208 | 22563.8327 | 0.30066 | 0.078159 | -201893.391 | -266125.9792 | 6.693% | 34.13% | 78.14% | 40.03%
mo-nc-ae-eff3.0SP1 | cz05 | PG&E | -14168.2153 | 2641.588 | 9.43 | 280502.4591 | 48419.7386 | 12780.1367 | 0.17262 | 0.045562 | -232082.7205 | -267722.3224 | 7.21% | 49.43% | 79.29% | 87.66%
mo-nc-ae-eff3.0SP1 | cz05-2 | SCG | -14168.2153 | 2641.588 | 9.43 | 280502.4591 | 24901.8051 | 12780.1367 | 0.088776 | 0.045562 | -255600.654 | -267722.3224 | 7.21% | 49.43% | 79.29% | 87.66%
mo-nc-ae-eff3.0SP1 | cz06 | SCE | 3543.7293 | 1096.1352 | 4.78 | 200279.4233 | 51908.5401 | 30216.757 | 0.25918 | 0.15087 | -148370.8832 | -170062.6663 | 6.317% | 38.28% | 103.4% | 54.18%
mo-nc-ae-eff3.0SP1 | cz07 | SDG&E | 6227.5388 | 727.8215 | 3.68 | 205598.2225 | 57590.6798 | 28968.7946 | 0.28011 | 0.1409 | -148007.5428 | -176629.4279 | 7.312% | 37.78% | 120.3% | 54.79%
mo-nc-ae-eff3.0SP1 | cz08 | SCE | 5784.5529 | 934.9042 | 4.31 | 203331.4254 | 52370.0671 | 32620.2667 | 0.25756 | 0.16043 | -150961.3583 | -170711.1587 | 6.968% | 99.65% | 71.13% | 114.8%
mo-nc-ae-eff3.0SP1 | cz09 | SCE | -167.0199 | 1161.1161 | 4.74 | 186433.6935 | 43822.8957 | 23947.187 | 0.23506 | 0.12845 | -142610.7979 | -162486.5065 | 5.255% | 80.32% | 74.33% | 137.7%
mo-nc-ae-eff3.0SP1 | cz10 | SDG&E | -3418.8662 | 1532.6242 | 5.68 | 288195.5653 | 51874.6416 | 24501.3297 | 0.18 | 0.085016 | -236320.9237 | -263694.2355 | 5.316% | 308.5% | 61.86% | 112.1%
mo-nc-ae-eff3.0SP1 | cz10-2 | SCE | -3418.8662 | 1532.6242 | 5.68 | 288195.5653 | 45431.8392 | 24501.3297 | 0.15764 | 0.085016 | -242763.726 | -263694.2355 | 5.316% | 308.5% | 61.86% | 112.1%
mo-nc-ae-eff3.0SP1 | cz11 | PG&E | -21574.5401 | 3446.6817 | 11.46 | 287352.9874 | 47672.4313 | 21734.0767 | 0.1659 | 0.075635 | -239680.556 | -265618.9107 | 5.369% | 23.24% | 51.77% | 19.06%
mo-nc-ae-eff3.0SP1 | cz12 | PG&E | -16954.0336 | 3007.6904 | 10.32 | 288612.356 | 48511.4526 | 21123.0426 | 0.16809 | 0.073188 | -240100.9034 | -267489.3134 | 6.733% | 72.76% | 61.79% | 46.18%
mo-nc-ae-eff3.0SP1 | cz12-2 | SMUD | -16954.0336 | 3007.6904 | 10.32 | 288612.356 | 77892.0505 | 21123.0426 | 0.26988 | 0.073188 | -210720.3055 | -267489.3134 | 6.733% | 72.76% | 61.79% | 46.18%
mo-nc-ae-eff3.0SP1 | cz13 | PG&E | -12406.4242 | 2490.4645 | 8.55 | 288596.1307 | 55943.0388 | 21159.3519 | 0.19385 | 0.073318 | -232653.092 | -267436.7788 | 4.835% | 24.79% | 48.39% | 19.23%
mo-nc-ae-eff3.0SP1 | cz14 | SDG&E | -22165.3806 | 3325.2664 | 10.51 | 279581.4062 | 43346.0994 | 17449.7273 | 0.15504 | 0.062414 | -236235.3069 | -262131.679 | 4.313% | 95.89% | 63.1% | 53.25%
mo-nc-ae-eff3.0SP1 | cz14-2 | SCE | -22165.3806 | 3325.2664 | 10.51 | 279581.4062 | 45826.9785 | 17449.7273 | 0.16391 | 0.062414 | -233754.4277 | -262131.679 | 4.313% | 95.89% | 63.1% | 53.25%
mo-nc-ae-eff3.0SP1 | cz15 | SCE | 4889.1297 | 660.8423 | 3.31 | 188392.8497 | 41824.5985 | 25701.7259 | 0.22201 | 0.13643 | -146568.2512 | -162691.1238 | 3.672% | 30.26% | 33.07% | 24.95%
mo-nc-ae-eff3.0SP1 | cz16 | PG&E | -53650.9666 | 6284.5307 | 20.47 | 273116.8415 | -11342.6246 | -51665.0681 | -0.04153 | -0.18917 | -284459.4661 | -324781.9096 | -7.084% | -170.2% | 61.14% | -63.36%
Package | CZ | IOU territory | Annual Elec Savings (kWh) | Annual Gas Savings (therms) | Annual GHG savings (tons) | Upfront Incremental Package Cost | Lifecycle Energy Cost Savings | Lifecycle $TDV Savings | B/C Ratio (On-bill) | B/C Ratio (TDV) | NPV (On-bill) | NPV (TDV) | Efficiency TDV Margin (CBECC) | Total TDV Compliance Margin (CBECC) | Source kBtu Margin (CBECC)
mo-nc-ae-efflf3.0SP1 | cz01 | PG&E | -31307.4456 | 5401.1511 | 21.07 | 272325.51 | 61373.2345 | 12274.9563 | 0.22537 | 0.045075 | -210952.2755 | -260050.5536 | -4.02% | -43.79% | 54.79% | -43.79%
mo-nc-ae-efflf3.0SP1 | cz02 | PG&E | -11254.1243 | 3339.876 | 13.41 | 291624.802 | 102439.9049 | 54076.3519 | 0.35127 | 0.18543 | -189184.8971 | -237548.45 | 5.796% | 272% | 69.88% | 277%
mo-nc-ae-efflf3.0SP1 | cz03 | PG&E | -8241.5435 | 2733.8671 | 11.24 | 288579.4043 | 74963.4478 | 41370.6625 | 0.25977 | 0.14336 | -213615.9565 | -247208.7419 | 9.578% | 354.6% | 76.31% | 501.1%
mo-nc-ae-efflf3.0SP1 | cz04 | PG&E | -3492.3463 | 2209.4956 | 9.47 | 288689.8118 | 82233.3288 | 45980.626 | 0.28485 | 0.15927 | -206456.4831 | -242709.1858 | 8.274% | 33.82% | 86.93% | 38.6%
mo-nc-ae-efflf3.0SP1 | cz04-2 | CPAU | -3492.3463 | 2209.4956 | 9.47 | 288689.8118 | 103129.6374 | 45980.626 | 0.35723 | 0.15927 | -185560.1745 | -242709.1858 | 8.274% | 33.82% | 86.93% | 38.6%
mo-nc-ae-efflf3.0SP1 | cz05 | PG&E | -7592.2975 | 2641.588 | 10.92 | 280502.4591 | 81389.9272 | 32893.8258 | 0.29016 | 0.11727 | -199112.5319 | -247608.6333 | 9.668% | 52.35% | 86.89% | 80.93%
mo-nc-ae-efflf3.0SP1 | cz05-2 | SCG | -7592.2975 | 2641.588 | 10.92 | 280502.4591 | 57871.9937 | 32893.8258 | 0.20632 | 0.11727 | -222630.4654 | -247608.6333 | 9.668% | 52.35% | 86.89% | 80.93%
mo-nc-ae-efflf3.0SP1 | cz06 | SCE | 9122.5024 | 1096.1352 | 5.92 | 200279.4233 | 84330.0369 | 50668.9106 | 0.42106 | 0.25299 | -115949.3864 | -149610.5127 | 6.898% | 32.51% | 130.2% | 42.37%
mo-nc-ae-efflf3.0SP1 | cz07 | SDG&E | 11030.3101 | 727.8215 | 4.64 | 205598.2225 | 113870.4028 | 44103.6794 | 0.55385 | 0.21451 | -91727.8197 | -161494.5432 | 7.494% | 31.42% | 169.5% | 42.31%
mo-nc-ae-efflf3.0SP1 | cz08 | SCE | 11287.0093 | 934.9042 | 5.53 | 203331.4254 | 87616.4845 | 54783.8855 | 0.4309 | 0.26943 | -115714.9409 | -148547.5399 | 7.087% | 60.93% | 80.91% | 66.37%
mo-nc-ae-efflf3.0SP1 | cz09 | SCE | 5527.2216 | 1161.1161 | 6 | 186433.6935 | 82971.2315 | 48051.4121 | 0.44504 | 0.25774 | -103462.462 | -138382.2814 | 5.947% | 55.11% | 87.12% | 74.21%
mo-nc-ae-efflf3.0SP1 | cz10 | SDG&E | 2930.3894 | 1532.6242 | 7.18 | 288195.5653 | 133904.1444 | 50897.3241 | 0.46463 | 0.17661 | -154291.4209 | -237298.2412 | 6.217% | 287.6% | 70.53% | 692.7%
mo-nc-ae-efflf3.0SP1 | cz10-2 | SCE | 2930.3894 | 1532.6242 | 7.18 | 288195.5653 | 92444.3527 | 50897.3241 | 0.32077 | 0.17661 | -195751.2126 | -237298.2412 | 6.217% | 287.6% | 70.53% | 692.7%
mo-nc-ae-efflf3.0SP1 | cz11 | PG&E | -14376.4113 | 3446.6817 | 13.23 | 287352.9874 | 104658.7001 | 52074.9945 | 0.36422 | 0.18122 | -182694.2873 | -235277.9928 | 3.093% | 18.52% | 45.67% | 13.78%
mo-nc-ae-efflf3.0SP1 | cz12 | PG&E | -10252.1973 | 3007.6904 | 11.89 | 288612.356 | 97809.6819 | 45902.4994 | 0.3389 | 0.15905 | -190802.6741 | -242709.8566 | 7.353% | 136.1% | 65.2% | 67.5%
mo-nc-ae-efflf3.0SP1 | cz12-2 | SMUD | -10252.1973 | 3007.6904 | 11.89 | 288612.356 | 92712.9349 | 45902.4994 | 0.32124 | 0.15905 | -195899.4211 | -242709.8566 | 7.353% | 136.1% | 65.2% | 67.5%
mo-nc-ae-efflf3.0SP1 | cz13 | PG&E | -5705.3095 | 2490.4645 | 10.18 | 288596.1307 | 108591.2727 | 49013.1438 | 0.37627 | 0.16983 | -180004.858 | -239582.987 | 6.044% | 35.63% | 52.85% | 26.88%
mo-nc-ae-efflf3.0SP1 | cz14 | SDG&E | -14551.6441 | 3325.2664 | 12.42 | 279581.4062 | 117429.8365 | 51758.7072 | 0.42002 | 0.18513 | -162151.5698 | -227822.6991 | 5.443% | 1547% | 69.59% | 138.6%
mo-nc-ae-efflf3.0SP1 | cz14-2 | SCE | -14551.6441 | 3325.2664 | 12.42 | 279581.4062 | 95997.7982 | 51758.7072 | 0.34336 | 0.18513 | -183583.608 | -227822.6991 | 5.443% | 1547% | 69.59% | 138.6%
mo-nc-ae-efflf3.0SP1 | cz15 | SCE | 11578.9309 | 660.8423 | 4.86 | 188392.8497 | 108436.7459 | 56244.274 | 0.57559 | 0.29855 | -79956.1038 | -132148.5757 | 4.269% | 46.43% | 39.24% | 36.66%
mo-nc-ae-efflf3.0SP1 | cz16 | PG&E | -46584.6304 | 6284.5307 | 22.26 | 273116.8415 | 21768.1711 | -29722.6904 | 0.079703 | -0.10883 | -251348.6704 | -302839.5319 | -13.31% | -233.8% | 55.59% | -791.8%

## SH
Package | CZ | IOU territory | Annual Elec Savings (kWh) | Annual Gas Savings (therms) | Annual GHG savings (tons) | Upfront Incremental Package Cost | Lifecycle Energy Cost Savings | Lifecycle $TDV Savings | B/C Ratio (On-bill) | B/C Ratio (TDV) | NPV (On-bill) | NPV (TDV) | Efficiency TDV Margin (CBECC) | Total TDV Compliance Margin (CBECC) | Source kBtu Margin (CBECC)
sh-nc-mf-eff3.0SP1 | cz01 | PG&E | 4589.7533 | -265.4712 | -0.88 | 3470.11 | 16157.1221 | 3181.8065 | 4.6561 | 0.91692 | 12687.0121 | -288.3035 | 4.286% | 4.56% | 4.714%
sh-nc-mf-eff3.0SP1 | cz02 | PG&E | 5148.0085 | -136.7634 | -0.1 | 3470.11 | 23140.5287 | 11456.1235 | 6.6685 | 3.3014 | 19670.4187 | 7986.0135 | 5.811% | 6.374% | 6.684%
sh-nc-mf-eff3.0SP1 | cz03 | PG&E | 4097.5623 | -133.2287 | -0.19 | 3470.11 | 17463.3231 | 7600.7712 | 5.0325 | 2.1904 | 13993.2131 | 4130.6612 | 4.734% | 5.187% | 5.686%
sh-nc-mf-eff3.0SP1 | cz04 | PG&E | 4927.3278 | -106.0905 | 0.06 | 3470.11 | 22960.6829 | 11498.3003 | 6.6167 | 3.3135 | 19490.5729 | 8028.1903 | 4.749% | 5.312% | 5.522%
sh-nc-mf-eff3.0SP1 | cz04-2 | CPAU | 4927.3278 | -106.0905 | 0.06 | 3470.11 | 10102.0821 | 11498.3003 | 2.9112 | 3.3135 | 6631.9721 | 8028.1903 | 4.749% | 5.312% | 5.522%
sh-nc-mf-eff3.0SP1 | cz05 | PG&E | 4129.8701 | -121.6842 | -0.14 | 3470.11 | 18010.6701 | 6611.7228 | 5.1902 | 1.9053 | 14540.5601 | 3141.6128 | 4.825% | 5.352% | 6.032%
sh-nc-mf-eff3.0SP1 | cz05-2 | SCG | 4129.8701 | -121.6842 | -0.14 | 3470.11 | 19634.7578 | 6611.7228 | 5.6583 | 1.9053 | 16164.6478 | 3141.6128 | 4.825% | 5.352% | 6.032%
sh-nc-mf-eff3.0SP1 | cz06 | SCE | 5250.6355 | -46.7882 | 0.39 | 3470.11 | 15898.3328 | 13004.4624 | 4.5815 | 3.7476 | 12428.2228 | 9534.3524 | 5.108% | 5.818% | 6.509%
sh-nc-mf-eff3.0SP1 | cz07 | SDG&E | 5011.1118 | -34.3464 | 0.47 | 3470.11 | 20795.4092 | 12120.5456 | 5.9927 | 3.4928 | 17325.2992 | 8650.4356 | 4.465% | 5.054% | 5.866%
sh-nc-mf-eff3.0SP1 | cz08 | SCE | 6536.5692 | -35.6777 | 0.6 | 3470.11 | 21953.6021 | 16963.1745 | 6.3265 | 4.8884 | 18483.4921 | 13493.0645 | 4.868% | 5.527% | 5.717%
sh-nc-mf-eff3.0SP1 | cz09 | SCE | 6165.2111 | -50.3957 | 0.51 | 3470.11 | 21963.7007 | 16241.8491 | 6.3294 | 4.6805 | 18493.5907 | 12771.7391 | 5.051% | 5.713% | 5.915%
sh-nc-mf-eff3.0SP1 | cz10 | SDG&E | 7191.0428 | -69.2784 | 0.51 | 3470.11 | 33425.9025 | 17538.7042 | 9.6325 | 5.0542 | 29955.7925 | 14068.5942 | 4.516% | 5.092% | 4.773%
sh-nc-mf-eff3.0SP1 | cz10-2 | SCE | 7191.0428 | -69.2784 | 0.51 | 3470.11 | 25120.1366 | 17538.7042 | 7.239 | 5.0542 | 21650.0266 | 14068.5942 | 4.516% | 5.092% | 4.773%
sh-nc-mf-eff3.0SP1 | cz11 | PG&E | 8063.854 | -135.7985 | 0.31 | 3470.11 | 32973.1275 | 19778.3334 | 9.502 | 5.6996 | 29503.0175 | 16308.2234 | 4.467% | 4.852% | 4.183%
sh-nc-mf-eff3.0SP1 | cz12 | PG&E | 6322.121 | -114.9587 | 0.19 | 3470.11 | 25910.4349 | 15361.5729 | 7.4667 | 4.4268 | 22440.3249 | 11891.4629 | 4.876% | 5.358% | 5.368%
sh-nc-mf-eff3.0SP1 | cz12-2 | SMUD | 6322.121 | -114.9587 | 0.19 | 3470.11 | 11499.4079 | 15361.5729 | 3.3138 | 4.4268 | 8029.2979 | 11891.4629 | 4.876% | 5.358% | 5.368%
sh-nc-mf-eff3.0SP1 | cz13 | PG&E | 8242.6502 | -99.9402 | 0.54 | 3470.11 | 34671.4434 | 21361.7937 | 9.9915 | 6.1559 | 31201.3334 | 17891.6837 | 4.366% | 4.774% | 4.073%
sh-nc-mf-eff3.0SP1 | cz14 | SDG&E | 8018.5745 | -144.0389 | 0.24 | 3470.11 | 32730.759 | 18481.0255 | 9.4322 | 5.3258 | 29260.649 | 15010.9155 | 4.746% | 5.3% | 4.721%
sh-nc-mf-eff3.0SP1 | cz14-2 | SCE | 8018.5745 | -144.0389 | 0.24 | 3470.11 | 25712.3254 | 18481.0255 | 7.4097 | 5.3258 | 22242.2154 | 15010.9155 | 4.746% | 5.3% | 4.721%
sh-nc-mf-eff3.0SP1 | cz15 | SCE | 11862.8586 | -26.1251 | 1.31 | 3470.11 | 38990.8647 | 31243.7991 | 11.2362 | 9.0037 | 35520.7547 | 27773.6891 | 5.605% | 6.386% | 5.668%
sh-nc-mf-eff3.0SP1 | cz16 | PG&E | 6995.9008 | -259.3779 | -0.48 | 3470.11 | 28924.4624 | 10409.3589 | 8.3353 | 2.9997 | 25454.3524 | 6939.2489 | 3.335% | 3.598% | 3.013%
Package | CZ | IOU territory | Annual Elec Savings (kWh) | Annual Gas Savings (therms) | Annual GHG savings (tons) | Upfront Incremental Package Cost | Lifecycle Energy Cost Savings | Lifecycle $TDV Savings | B/C Ratio (On-bill) | B/C Ratio (TDV) | NPV (On-bill) | NPV (TDV) | Efficiency TDV Margin (CBECC) | Total TDV Compliance Margin (CBECC) | Source kBtu Margin (CBECC)
sh-nc-mf-effx3.0SP1 | cz01 | PG&E | 4589.753 | 1510.9104 | 9.2 | 21213.7993 | 68246.4741 | 58717.7839 | 3.2171 | 2.7679 | 47032.6747 | 37503.9846 | 12.14% | 12.92% | 14.34%
sh-nc-mf-effx3.0SP1 | cz02 | PG&E | 5148.0051 | 1540.7735 | 9.42 | 21213.7993 | 72395.2605 | 63947.9683 | 3.4126 | 3.0145 | 51181.4612 | 42734.169 | 13.46% | 14.77% | 17.96%
sh-nc-mf-effx3.0SP1 | cz03 | PG&E | 4097.5608 | 1539.5163 | 9.27 | 21213.7993 | 66529.2536 | 59913.836 | 3.1361 | 2.8243 | 45315.4543 | 38700.0366 | 13.29% | 14.57% | 17.56%
sh-nc-mf-effx3.0SP1 | cz04 | PG&E | 4927.33 | 1534.6686 | 9.35 | 21213.7993 | 71132.3108 | 62843.8225 | 3.3531 | 2.9624 | 49918.5115 | 41630.0232 | 12.81% | 14.33% | 17.74%
sh-nc-mf-effx3.0SP1 | cz04-2 | CPAU | 4927.33 | 1534.6686 | 9.35 | 21213.7993 | 64039.4766 | 62843.8225 | 3.0188 | 2.9624 | 42825.6772 | 41630.0232 | 12.81% | 14.33% | 17.74%
sh-nc-mf-effx3.0SP1 | cz05 | PG&E | 4129.8799 | 1570.2984 | 9.43 | 21213.7993 | 67623.1116 | 59512.9441 | 3.1877 | 2.8054 | 46409.3123 | 38299.1448 | 13.89% | 15.41% | 18.38%
sh-nc-mf-effx3.0SP1 | cz05-2 | SCG | 4129.8799 | 1570.2984 | 9.43 | 21213.7993 | 47822.7401 | 59512.9441 | 2.2543 | 2.8054 | 26608.9408 | 38299.1448 | 13.89% | 15.41% | 18.38%
sh-nc-mf-effx3.0SP1 | cz06 | SCE | 5250.6369 | 1527.1241 | 9.3 | 21213.7993 | 42177.5672 | 62309.5925 | 1.9882 | 2.9372 | 20963.7679 | 41095.7932 | 13.65% | 15.55% | 20.15%
sh-nc-mf-effx3.0SP1 | cz07 | SDG&E | 5011.1142 | 1515.9861 | 9.24 | 21213.7993 | 49794.3476 | 60780.1982 | 2.3473 | 2.8651 | 28580.5483 | 39566.3989 | 13.31% | 15.07% | 19.56%
sh-nc-mf-effx3.0SP1 | cz08 | SCE | 6536.5714 | 1500.632 | 9.29 | 21213.7993 | 47610.6413 | 65097.4835 | 2.2443 | 3.0686 | 26396.842 | 43883.6842 | 12.62% | 14.32% | 19.06%
sh-nc-mf-effx3.0SP1 | cz09 | SCE | 6165.2067 | 1494.4773 | 9.25 | 21213.7993 | 47770.295 | 64661.2426 | 2.2519 | 3.0481 | 26556.4957 | 43447.4433 | 12.64% | 14.3% | 18.85%
sh-nc-mf-effx3.0SP1 | cz10 | SDG&E | 7191.0319 | 1472.2283 | 9.27 | 21213.7993 | 62983.5674 | 65867.5495 | 2.969 | 3.1049 | 41769.7681 | 44653.7502 | 12.1% | 13.65% | 18.09%
sh-nc-mf-effx3.0SP1 | cz10-2 | SCE | 7191.0319 | 1472.2283 | 9.27 | 21213.7993 | 50877.7338 | 65867.5495 | 2.3983 | 3.1049 | 29663.9344 | 44653.7502 | 12.1% | 13.65% | 18.09%
sh-nc-mf-effx3.0SP1 | cz11 | PG&E | 8063.657 | 1477.5027 | 9.48 | 21213.7993 | 80446.4333 | 70339.2477 | 3.7922 | 3.3157 | 59232.634 | 49125.4483 | 11.01% | 11.96% | 15.25%
sh-nc-mf-effx3.0SP1 | cz12 | PG&E | 6322.1019 | 1512.5336 | 9.45 | 21213.7993 | 73761.4245 | 66333.9829 | 3.477 | 3.1269 | 52547.6252 | 45120.1836 | 12.18% | 13.38% | 17.27%
sh-nc-mf-effx3.0SP1 | cz12-2 | SMUD | 6322.1019 | 1512.5336 | 9.45 | 21213.7993 | 59350.4291 | 66333.9829 | 2.7977 | 3.1269 | 38136.6298 | 45120.1836 | 12.18% | 13.38% | 17.27%
sh-nc-mf-effx3.0SP1 | cz13 | PG&E | 8242.6578 | 1490.4053 | 9.59 | 21213.7993 | 81485.6929 | 71210.2278 | 3.8412 | 3.3568 | 60271.8936 | 49996.4285 | 10.97% | 11.99% | 15.87%
sh-nc-mf-effx3.0SP1 | cz14 | SDG&E | 8018.5391 | 1481.6734 | 9.49 | 21213.7993 | 64177.1339 | 69523.1543 | 3.0253 | 3.2773 | 42963.3346 | 48309.355 | 11.57% | 12.92% | 16.24%
sh-nc-mf-effx3.0SP1 | cz14-2 | SCE | 8018.5391 | 1481.6734 | 9.49 | 21213.7993 | 52932.2632 | 69523.1543 | 2.4952 | 3.2773 | 31718.4639 | 48309.355 | 11.57% | 12.92% | 16.24%
sh-nc-mf-effx3.0SP1 | cz15 | SCE | 11862.8567 | 1326.5305 | 8.99 | 21213.7993 | 61656.2969 | 73739.0408 | 2.9064 | 3.476 | 40442.4976 | 52525.2415 | 11.2% | 12.76% | 18.15%
sh-nc-mf-effx3.0SP1 | cz16 | PG&E | 6995.9894 | 1575.5479 | 9.98 | 21213.7993 | 82826.7167 | 67958.5371 | 3.9044 | 3.2035 | 61612.9174 | 46744.7378 | 10.78% | 11.63% | 12.68%
Package | CZ | IOU territory | Annual Elec Savings (kWh) | Annual Gas Savings (therms) | Annual GHG savings (tons) | Upfront Incremental Package Cost | Lifecycle Energy Cost Savings | Lifecycle $TDV Savings | B/C Ratio (On-bill) | B/C Ratio (TDV) | NPV (On-bill) | NPV (TDV) | Efficiency TDV Margin (CBECC) | Total TDV Compliance Margin (CBECC) | Source kBtu Margin (CBECC)
sh-nc-ae-AWHP3.0SP1 | cz01 | PG&E | -248607.3142 | 16870.3684 | 69.79 | 1406.6397 | -512751.3507 | -39088.7448 | -364.5222 | -27.7887 | -514157.9904 | -40495.3844 | 5.438% | 5.778% | 49.23%
sh-nc-ae-AWHP3.0SP1 | cz02 | PG&E | -211381.2239 | 13220.716 | 52.78 | -20326.8133 | -433964.426 | -43900.4996 | 0.04684 | 0.46302 | -413637.6126 | -23573.6863 | 1.732% | 1.902% | 39.57%
sh-nc-ae-AWHP3.0SP1 | cz03 | PG&E | -201477.6796 | 12774.7679 | 52.02 | -3119.2992 | -411089.1276 | -37621.7784 | 0.0075879 | 0.082912 | -407969.8284 | -34502.4793 | 0.667% | 0.7304% | 39.18%
sh-nc-ae-AWHP3.0SP1 | cz04 | PG&E | -191733.8351 | 12024.5844 | 49.13 | -4060.0447 | -366569.1919 | -42590.1242 | 0.011076 | 0.095328 | -362509.1472 | -38530.0795 | -0.3121% | -0.3508% | 36.49%
sh-nc-ae-AWHP3.0SP1 | cz04-2 | CPAU | -191733.8351 | 12024.5844 | 49.13 | -4060.0447 | -70075.2929 | -42590.1242 | 0.057938 | 0.095328 | -66015.2482 | -38530.0795 | -0.3121% | -0.3508% | 36.49%
sh-nc-ae-AWHP3.0SP1 | cz05 | PG&E | -200405.1993 | 12428.8507 | 50.12 | 19504.1643 | -411449.5624 | -53629.6165 | -21.0955 | -2.7496 | -430953.7267 | -73133.7808 | -0.6656% | -0.7425% | 37.74%
sh-nc-ae-AWHP3.0SP1 | cz05-2 | SCG | -200405.1993 | 12428.8507 | 50.12 | 19504.1643 | -552403.0612 | -53629.6165 | -28.3223 | -2.7496 | -571907.2255 | -73133.7808 | -0.6656% | -0.7425% | 37.74%
sh-nc-ae-AWHP3.0SP1 | cz06 | SCE | -169081.2528 | 10126.7989 | 41.79 | 19986.1459 | -419348.9981 | -34887.0002 | -20.982 | -1.7456 | -439335.144 | -54873.1461 | -1.602% | -1.837% | 29.36%
sh-nc-ae-AWHP3.0SP1 | cz07 | SDG&E | -165853.1695 | 9975.3658 | 41.6 | 25286.715 | -692905.2808 | -30098.4155 | -27.4019 | -1.1903 | -718191.9958 | -55385.1305 | -1.82% | -2.074% | 28.28%
sh-nc-ae-AWHP3.0SP1 | cz08 | SCE | -163585.9582 | 9874.858 | 41.08 | 23481.9188 | -371274.4422 | -38057.3245 | -15.8111 | -1.6207 | -394756.361 | -61539.2433 | -1.963% | -2.245% | 27.34%
sh-nc-ae-AWHP3.0SP1 | cz09 | SCE | -168529.3035 | 10254.1431 | 42.42 | 19837.7435 | -370352.1822 | -29559.7222 | -18.6691 | -1.4901 | -390189.9257 | -49397.4657 | -0.9365% | -1.067% | 29.42%
sh-nc-ae-AWHP3.0SP1 | cz10 | SDG&E | -173320.7536 | 9922.9758 | 39.31 | 23210.5644 | -647498.3893 | -48797.0593 | -27.8967 | -2.1024 | -670708.9537 | -72007.6237 | 0.01551% | 0.01721% | 30.56%
sh-nc-ae-AWHP3.0SP1 | cz10-2 | SCE | -173320.7536 | 9922.9758 | 39.31 | 23210.5644 | -381420.2672 | -48797.0593 | -16.433 | -2.1024 | -404630.8316 | -72007.6237 | 0.01551% | 0.01721% | 30.56%
sh-nc-ae-AWHP3.0SP1 | cz11 | PG&E | -198618.166 | 12504.0617 | 49.57 | 24189.4311 | -582499.3616 | -31011.3808 | -24.0807 | -1.282 | -606688.7927 | -55200.8119 | 3.915% | 4.246% | 38.99%
sh-nc-ae-AWHP3.0SP1 | cz12 | PG&E | -199414.6859 | 11934.3396 | 46.57 | -10557.7888 | -595497.5113 | -55221.9204 | 0.017729 | 0.19119 | -584939.7225 | -44664.1315 | 1.784% | 1.955% | 38.01%
sh-nc-ae-AWHP3.0SP1 | cz12-2 | SMUD | -199414.6859 | 11934.3396 | 46.57 | -10557.7888 | -48509.3461 | -55221.9204 | 0.21764 | 0.19119 | -37951.5573 | -44664.1315 | 1.784% | 1.955% | 38.01%
sh-nc-ae-AWHP3.0SP1 | cz13 | PG&E | -185904.6638 | 11334.7131 | 45.05 | -10274.1416 | -551013.9595 | -43506.0557 | 0.018646 | 0.23615 | -540739.818 | -33231.9141 | 1.383% | 1.51% | 34.92%
sh-nc-ae-AWHP3.0SP1 | cz14 | SDG&E | -197838.3683 | 12141.2043 | 47.26 | 17038.3324 | -742939.9644 | -31805.2495 | -43.604 | -1.8667 | -759978.2968 | -48843.5818 | 4.242% | 4.727% | 37.84%
sh-nc-ae-AWHP3.0SP1 | cz14-2 | SCE | -197838.3683 | 12141.2043 | 47.26 | 17038.3324 | -425470.3028 | -31805.2495 | -24.9714 | -1.8667 | -442508.6352 | -48843.5818 | 4.242% | 4.727% | 37.84%
sh-nc-ae-AWHP3.0SP1 | cz15 | SCE | -139949.3631 | 7901.9918 | 32.56 | 3465.028 | -300016.481 | -41507.5998 | -86.5841 | -11.979 | -303481.509 | -44972.6278 | -0.8006% | -0.9156% | 22.25%
sh-nc-ae-AWHP3.0SP1 | cz16 | PG&E | -280039.6803 | 17367.4497 | 67.17 | 496.5252 | -615116.6486 | -143856.9407 | -1238.8427 | -289.7274 | -615613.1738 | -144353.4659 | 3.242% | 3.459% | 47.2%
Package | CZ | IOU territory | Annual Elec Savings (kWh) | Annual Gas Savings (therms) | Annual GHG savings (tons) | Upfront Incremental Package Cost | Lifecycle Energy Cost Savings | Lifecycle $TDV Savings | B/C Ratio (On-bill) | B/C Ratio (TDV) | NPV (On-bill) | NPV (TDV) | Efficiency TDV Margin (CBECC) | Total TDV Compliance Margin (CBECC) | Source kBtu Margin (CBECC)
sh-nc-ae-eff3.0SP1 | cz01 | PG&E | -245692.0528 | 16870.3684 | 70.24 | 4876.7497 | -500971.7838 | -31637.7634 | -102.7266 | -6.4875 | -505848.5335 | -36514.5131 | 6.5% | 6.906% | 49.86%
sh-nc-ae-eff3.0SP1 | cz02 | PG&E | -207042.4167 | 13220.716 | 53.34 | -16856.7033 | -416114.3328 | -29924.1914 | 0.04051 | 0.56331 | -399257.6295 | -13067.4881 | 3.858% | 4.237% | 40.6%
sh-nc-ae-eff3.0SP1 | cz03 | PG&E | -198192.3951 | 12774.7679 | 52.47 | 350.8108 | -398275.3478 | -27564.8414 | -1135.2994 | -78.5747 | -398626.1586 | -27915.6522 | 2.409% | 2.645% | 40.11%
sh-nc-ae-eff3.0SP1 | cz04 | PG&E | -187436.1506 | 12024.5844 | 49.68 | -589.9347 | -349926.8366 | -29125.5526 | 0.0016859 | 0.020255 | -349336.9019 | -28535.6179 | 1.945% | 2.184% | 37.69%
sh-nc-ae-eff3.0SP1 | cz04-2 | CPAU | -187436.1506 | 12024.5844 | 49.68 | -589.9347 | -57848.6808 | -29125.5526 | 0.010198 | 0.020255 | -57258.7461 | -28535.6179 | 1.945% | 2.184% | 37.69%
sh-nc-ae-eff3.0SP1 | cz05 | PG&E | -196990.0053 | 12428.8507 | 50.57 | 22974.2743 | -398318.9828 | -44915.6432 | -17.3376 | -1.955 | -421293.2571 | -67889.9175 | 0.8945% | 0.9912% | 38.69%
sh-nc-ae-eff3.0SP1 | cz05-2 | SCG | -196990.0053 | 12428.8507 | 50.57 | 22974.2743 | -539272.4816 | -44915.6432 | -23.4729 | -1.955 | -562246.7559 | -67889.9175 | 0.8945% | 0.9912% | 38.69%
sh-nc-ae-eff3.0SP1 | cz06 | SCE | -164077.7026 | 10126.7989 | 42.4 | 23456.2559 | -407350.753 | -20942.935 | -17.3664 | -0.89285 | -430807.0089 | -44399.1909 | 1.007% | 1.155% | 30.99%
sh-nc-ae-eff3.0SP1 | cz07 | SDG&E | -161024.1121 | 9975.3658 | 42.22 | 28756.825 | -677326.3233 | -17269.9564 | -23.5536 | -0.60055 | -706083.1483 | -46026.7814 | 0.7048% | 0.8026% | 30.04%
sh-nc-ae-eff3.0SP1 | cz08 | SCE | -157217.8103 | 9874.858 | 41.84 | 26952.0288 | -354700.3438 | -20365.3341 | -13.1604 | -0.75561 | -381652.3726 | -47317.3628 | 1.134% | 1.296% | 29.37%
sh-nc-ae-eff3.0SP1 | cz09 | SCE | -162635.7491 | 10254.1431 | 43.16 | 23307.8535 | -353393.1205 | -12315.0344 | -15.162 | -0.52836 | -376700.974 | -35622.8879 | 1.998% | 2.275% | 31.28%
sh-nc-ae-eff3.0SP1 | cz10 | SDG&E | -166520.8394 | 9922.9758 | 40.13 | 26680.6744 | -621908.2908 | -29938.9756 | -23.3093 | -1.1221 | -648588.9652 | -56619.65 | 3.056% | 3.444% | 32.44%
sh-nc-ae-eff3.0SP1 | cz10-2 | SCE | -166520.8394 | 9922.9758 | 40.13 | 26680.6744 | -360499.6719 | -29938.9756 | -13.5116 | -1.1221 | -387180.3463 | -56619.65 | 3.056% | 3.444% | 32.44%
sh-nc-ae-eff3.0SP1 | cz11 | PG&E | -191400.7343 | 12504.0617 | 50.52 | 27659.5411 | -549761.1875 | -8751.7879 | -19.876 | -0.31641 | -577420.7286 | -36411.329 | 6.828% | 7.406% | 40.57%
sh-nc-ae-eff3.0SP1 | cz12 | PG&E | -193799.4835 | 11934.3396 | 47.31 | -7087.6788 | -570375.0522 | -37772.8389 | 0.012426 | 0.18764 | -563287.3734 | -30685.16 | 4.298% | 4.712% | 39.34%
sh-nc-ae-eff3.0SP1 | cz12-2 | SMUD | -193799.4835 | 11934.3396 | 47.31 | -7087.6788 | -37780.7831 | -37772.8389 | 0.1876 | 0.18764 | -30693.1043 | -30685.16 | 4.298% | 4.712% | 39.34%
sh-nc-ae-eff3.0SP1 | cz13 | PG&E | -178267.486 | 11334.7131 | 46.05 | -6804.0316 | -516731.9853 | -20274.2396 | 0.013167 | 0.3356 | -509927.9538 | -13470.2081 | 4.507% | 4.922% | 36.76%
sh-nc-ae-eff3.0SP1 | cz14 | SDG&E | -190739.661 | 12141.2043 | 48.15 | 20508.4424 | -715832.2915 | -10745.4441 | -34.9043 | -0.52395 | -736340.7339 | -31253.8865 | 7.084% | 7.894% | 39.38%
sh-nc-ae-eff3.0SP1 | cz14-2 | SCE | -190739.661 | 12141.2043 | 48.15 | 20508.4424 | -402120.0222 | -10745.4441 | -19.6075 | -0.52395 | -422628.4646 | -31253.8865 | 7.084% | 7.894% | 39.38%
sh-nc-ae-eff3.0SP1 | cz15 | SCE | -128164.1879 | 7901.9918 | 33.99 | 6935.138 | -262940.9377 | -9583.625 | -37.9143 | -1.3819 | -269876.0757 | -16518.763 | 3.607% | 4.119% | 25.72%
sh-nc-ae-eff3.0SP1 | cz16 | PG&E | -274749.5466 | 17367.4497 | 67.93 | 3966.6352 | -592829.2313 | -129863.6622 | -149.4539 | -32.739 | -596795.8665 | -133830.2974 | 4.84% | 5.165% | 48.12%
Package | CZ | IOU territory | Annual Elec Savings (kWh) | Annual Gas Savings (therms) | Annual GHG savings (tons) | Upfront Incremental Package Cost | Lifecycle Energy Cost Savings | Lifecycle $TDV Savings | B/C Ratio (On-bill) | B/C Ratio (TDV) | NPV (On-bill) | NPV (TDV) | Efficiency TDV Margin (CBECC) | Total TDV Compliance Margin (CBECC) | Source kBtu Margin (CBECC)
sh-nc-ae-effx3.0SP1 | cz01 | PG&E | -226190.6322 | 16870.3684 | 71.43 | 22620.439 | -396207.9819 | 4266.5407 | -17.5155 | 0.18861 | -418828.4209 | -18353.8983 | 11.37% | 12.09% | 51.55%
sh-nc-ae-effx3.0SP1 | cz02 | PG&E | -190108.2859 | 13220.716 | 54.44 | 886.986 | -318834.7875 | 1542.8963 | -359.4587 | 1.7395 | -319721.7735 | 655.9103 | 8.416% | 9.244% | 42.64%
sh-nc-ae-effx3.0SP1 | cz03 | PG&E | -181422.9681 | 12774.7679 | 53.52 | 18094.5002 | -310309.6584 | 3274.5802 | -17.1494 | 0.18097 | -328404.1586 | -14819.9199 | 7.488% | 8.225% | 42.25%
sh-nc-ae-effx3.0SP1 | cz04 | PG&E | -171454.6866 | 12024.5844 | 50.69 | 17153.7546 | -265448.5318 | 1529.5152 | -15.4747 | 0.089165 | -282602.2864 | -15624.2395 | 6.834% | 7.674% | 39.87%
sh-nc-ae-effx3.0SP1 | cz04-2 | CPAU | -171454.6866 | 12024.5844 | 50.69 | 17153.7546 | -16199.7102 | 1529.5152 | -0.94438 | 0.089165 | -33353.4648 | -15624.2395 | 6.834% | 7.674% | 39.87%
sh-nc-ae-effx3.0SP1 | cz05 | PG&E | -180488.3245 | 12428.8507 | 51.59 | 40717.9636 | -310337.3338 | -14402.5578 | -7.6216 | -0.35372 | -351055.2974 | -55120.5214 | 6.073% | 6.746% | 40.85%
sh-nc-ae-effx3.0SP1 | cz05-2 | SCG | -180488.3245 | 12428.8507 | 51.59 | 40717.9636 | -451290.8326 | -14402.5578 | -11.0833 | -0.35372 | -492008.7962 | -55120.5214 | 6.073% | 6.746% | 40.85%
sh-nc-ae-effx3.0SP1 | cz06 | SCE | -149464.2582 | 10126.7989 | 43.3 | 41199.9453 | -354655.4934 | 6794.6044 | -8.6082 | 0.16492 | -395855.4386 | -34405.3409 | 5.946% | 6.816% | 33.41%
sh-nc-ae-effx3.0SP1 | cz07 | SDG&E | -146423.7387 | 9975.3658 | 43.11 | 46500.5143 | -597621.947 | 9401.4204 | -12.8519 | 0.20218 | -644122.4613 | -37099.0939 | 5.695% | 6.488% | 32.5%
sh-nc-ae-effx3.0SP1 | cz08 | SCE | -143317.1334 | 9874.858 | 42.69 | 44695.7181 | -303432.4177 | 7125.0232 | -6.7888 | 0.15941 | -348128.1358 | -37570.6949 | 5.72% | 6.54% | 31.66%
sh-nc-ae-effx3.0SP1 | cz09 | SCE | -148472.0592 | 10254.1431 | 44.05 | 41051.5428 | -302091.1576 | 14891.0032 | -7.3588 | 0.36274 | -343142.7004 | -26160.5396 | 6.405% | 7.294% | 33.52%
sh-nc-ae-effx3.0SP1 | cz10 | SDG&E | -152485.7035 | 9922.9758 | 41.01 | 44424.3637 | -542725.5254 | -4009.1679 | -12.2168 | -0.090247 | -587149.8891 | -48433.5316 | 7.022% | 7.915% | 34.48%
sh-nc-ae-effx3.0SP1 | cz10-2 | SCE | -152485.7035 | 9922.9758 | 41.01 | 44424.3637 | -309536.7531 | -4009.1679 | -6.9677 | -0.090247 | -353961.1168 | -48433.5316 | 7.022% | 7.915% | 34.48%
sh-nc-ae-effx3.0SP1 | cz11 | PG&E | -175681.9522 | 12504.0617 | 51.59 | 45403.2304 | -463453.6119 | 20403.5812 | -10.2075 | 0.44939 | -508856.8423 | -24999.6492 | 10.45% | 11.34% | 42.36%
sh-nc-ae-effx3.0SP1 | cz12 | PG&E | -177828.6501 | 11934.3396 | 48.38 | 10656.0105 | -484407.2422 | -8283.0278 | -45.4586 | -0.77731 | -495063.2527 | -18939.0383 | 8.337% | 9.141% | 41.29%
sh-nc-ae-effx3.0SP1 | cz12-2 | SMUD | -177828.6501 | 11934.3396 | 48.38 | 10656.0105 | 12849.7844 | -8283.0278 | 1.2059 | -0.77731 | 2193.7739 | -18939.0383 | 8.337% | 9.141% | 41.29%
sh-nc-ae-effx3.0SP1 | cz13 | PG&E | -162969.9797 | 11334.7131 | 47.08 | 10939.6577 | -433336.2485 | 8233.5002 | -39.6115 | 0.75263 | -444275.9063 | -2706.1576 | 8.148% | 8.899% | 38.67%
sh-nc-ae-effx3.0SP1 | cz14 | SDG&E | -175261.7242 | 12141.2043 | 49.2 | 38252.1317 | -616438.1853 | 18734.7384 | -16.1151 | 0.48977 | -654690.317 | -19517.3933 | 10.88% | 12.12% | 41.22%
sh-nc-ae-effx3.0SP1 | cz14-2 | SCE | -175261.7242 | 12141.2043 | 49.2 | 38252.1317 | -341882.5077 | 18734.7384 | -8.9376 | 0.48977 | -380134.6394 | -19517.3933 | 10.88% | 12.12% | 41.22%
sh-nc-ae-effx3.0SP1 | cz15 | SCE | -116798.8286 | 7901.9918 | 34.75 | 24678.8273 | -225059.1972 | 11302.8373 | -9.1195 | 0.458 | -249738.0245 | -13375.9901 | 6.324% | 7.223% | 27.5%
sh-nc-ae-effx3.0SP1 | cz16 | PG&E | -250987.8406 | 17367.4497 | 69.64 | 21710.3245 | -452135.7529 | -85595.7918 | -20.8258 | -3.9426 | -473846.0774 | -107306.1163 | 9.715% | 10.37% | 50.18%
Package | CZ | IOU territory | Annual Elec Savings (kWh) | Annual Gas Savings (therms) | Annual GHG savings (tons) | Upfront Incremental Package Cost | Lifecycle Energy Cost Savings | Lifecycle $TDV Savings | B/C Ratio (On-bill) | B/C Ratio (TDV) | NPV (On-bill) | NPV (TDV) | Efficiency TDV Margin (CBECC) | Total TDV Compliance Margin (CBECC) | Source kBtu Margin (CBECC)
sh-nc-ae-effpv3.0SP1 | cz01 | PG&E | -170223.4186 | 16870.3684 | 72.97 | 153305.9497 | -229639.1313 | 96589.159 | -1.4979 | 0.63004 | -382945.081 | -56716.7907 | 6.5% | 26.32% | 53.74%
sh-nc-ae-effpv3.0SP1 | cz02 | PG&E | -121768.7347 | 13220.716 | 56.48 | 123225.2967 | -114410.2983 | 120988.9748 | -0.92846 | 0.98185 | -237635.595 | -2236.3219 | 3.858% | 29.45% | 46.4%
sh-nc-ae-effpv3.0SP1 | cz03 | PG&E | -105643.4382 | 12774.7679 | 56.12 | 148780.0108 | -68420.6421 | 133080.6501 | -0.45988 | 0.89448 | -217200.653 | -15699.3607 | 2.409% | 33.23% | 47.59%
sh-nc-ae-effpv3.0SP1 | cz04 | PG&E | -96636.5495 | 12024.5844 | 53.18 | 139492.0653 | -19387.965 | 138368.6549 | -0.13899 | 0.99195 | -158880.0303 | -1123.4104 | 1.945% | 33.72% | 45.27%
sh-nc-ae-effpv3.0SP1 | cz04-2 | CPAU | -96636.5495 | 12024.5844 | 53.18 | 139492.0653 | 193539.0855 | 138368.6549 | 1.3875 | 0.99195 | 54047.0202 | -1123.4104 | 1.945% | 33.72% | 45.27%
sh-nc-ae-effpv3.0SP1 | cz05 | PG&E | -97854.7205 | 12428.8507 | 54.96 | 171403.4743 | -43983.1631 | 128972.7449 | -0.25661 | 0.75245 | -215386.6374 | -42430.7294 | 0.8948% | 35.6% | 47.98%
sh-nc-ae-effpv3.0SP1 | cz05-2 | SCG | -97854.7205 | 12428.8507 | 54.96 | 171403.4743 | -184936.6619 | 128972.7449 | -1.079 | 0.75245 | -356340.1362 | -42430.7294 | 0.8948% | 35.6% | 47.98%
sh-nc-ae-effpv3.0SP1 | cz06 | SCE | -67618.5635 | 10126.7989 | 46.8 | 163538.2559 | -239689.5092 | 154372.2334 | -1.4656 | 0.94395 | -403227.7651 | -9166.0226 | 1.008% | 38.77% | 42.88%
sh-nc-ae-effpv3.0SP1 | cz07 | SDG&E | -70908.1756 | 9975.3658 | 46.53 | 168838.825 | -484579.7681 | 142974.8346 | -2.8701 | 0.84681 | -653418.5931 | -25863.9904 | 0.7051% | 36.74% | 42.13%
sh-nc-ae-effpv3.0SP1 | cz08 | SCE | -63724.7585 | 9874.858 | 45.94 | 167034.0288 | -187097.8135 | 162942.3261 | -1.1201 | 0.9755 | -354131.8423 | -4091.7027 | 1.134% | 37.99% | 40.29%
sh-nc-ae-effpv3.0SP1 | cz09 | SCE | -65110.8983 | 10254.1431 | 47.46 | 163389.8535 | -173514.7601 | 171234.136 | -1.062 | 1.048 | -336904.6136 | 7844.2825 | 1.997% | 37.83% | 42.13%
sh-nc-ae-effpv3.0SP1 | cz10 | SDG&E | -68975.4977 | 9922.9758 | 44.41 | 166762.6744 | -402154.8793 | 149159.1006 | -2.4115 | 0.89444 | -568917.5537 | -17603.5738 | 3.056% | 35.99% | 42.34%
sh-nc-ae-effpv3.0SP1 | cz10-2 | SCE | -68975.4977 | 9922.9758 | 44.41 | 166762.6744 | -173547.1786 | 149159.1006 | -1.0407 | 0.89444 | -340309.853 | -17603.5738 | 3.056% | 35.99% | 42.34%
sh-nc-ae-effpv3.0SP1 | cz11 | PG&E | -104410.1459 | 12504.0617 | 53.64 | 167741.5411 | -212263.5594 | 143774.3639 | -1.2654 | 0.85712 | -380005.1005 | -23967.1772 | 6.828% | 29.05% | 45.78%
sh-nc-ae-effpv3.0SP1 | cz12 | PG&E | -104359.7139 | 11934.3396 | 50.44 | 132994.3212 | -233098.244 | 118508.1753 | -1.7527 | 0.89108 | -366092.5652 | -14486.1459 | 4.297% | 29.39% | 45.11%
sh-nc-ae-effpv3.0SP1 | cz12-2 | SMUD | -104359.7139 | 11934.3396 | 50.44 | 132994.3212 | 99317.0152 | 118508.1753 | 0.74678 | 0.89108 | -33677.3059 | -14486.1459 | 4.297% | 29.39% | 45.11%
sh-nc-ae-effpv3.0SP1 | cz13 | PG&E | -87580.6193 | 11334.7131 | 49.27 | 133277.9684 | -163546.2805 | 140360.8193 | -1.2271 | 1.0531 | -296824.2489 | 7082.8509 | 4.507% | 28.51% | 42.69%
sh-nc-ae-effpv3.0SP1 | cz14 | SDG&E | -85568.6115 | 12141.2043 | 52.87 | 160590.4424 | -466376.9237 | 184235.7787 | -2.9041 | 1.1472 | -626967.3661 | 23645.3363 | 7.084% | 37.22% | 47.62%
sh-nc-ae-effpv3.0SP1 | cz14-2 | SCE | -85568.6115 | 12141.2043 | 52.87 | 160590.4424 | -193545.3512 | 184235.7787 | -1.2052 | 1.1472 | -354135.7936 | 23645.3363 | 7.084% | 37.22% | 47.62%
sh-nc-ae-effpv3.0SP1 | cz15 | SCE | -41839.6786 | 7901.9918 | 37.85 | 127185.138 | -101380.6357 | 147398.5174 | -0.79711 | 1.1589 | -228565.7737 | 20213.3794 | 3.607% | 28.88% | 35.02%
sh-nc-ae-effpv3.0SP1 | cz16 | PG&E | -177159.0707 | 17367.4497 | 71.9 | 152395.8352 | -230017.8237 | 40551.2383 | -1.5093 | 0.26609 | -382413.6589 | -111844.5969 | 4.84% | 25.94% | 52.91%
Package | CZ | IOU territory | Annual Elec Savings (kWh) | Annual Gas Savings (therms) | Annual GHG savings (tons) | Upfront Incremental Package Cost | Lifecycle Energy Cost Savings | Lifecycle $TDV Savings | B/C Ratio (On-bill) | B/C Ratio (TDV) | NPV (On-bill) | NPV (TDV) | Efficiency TDV Margin (CBECC) | Total TDV Compliance Margin (CBECC) | Source kBtu Margin (CBECC)
sh-nc-ae-effxpv3.0SP1 | cz01 | PG&E | -150737.7749 | 16870.3684 | 74.19 | 171049.639 | -128215.9859 | 132767.9135 | -0.74958 | 0.7762 | -299265.6249 | -38281.7255 | 11.37% | 31.54% | 55.46%
sh-nc-ae-effxpv3.0SP1 | cz02 | PG&E | -104856.5901 | 13220.716 | 57.62 | 140968.986 | -16259.8557 | 152617.7271 | -0.11534 | 1.0826 | -157228.8417 | 11648.7411 | 8.416% | 34.48% | 48.53%
sh-nc-ae-effxpv3.0SP1 | cz03 | PG&E | -88888.5363 | 12774.7679 | 57.2 | 166523.7002 | 19868.4894 | 164021.5955 | 0.11931 | 0.98497 | -146655.2107 | -2502.1047 | 7.488% | 38.83% | 49.79%
sh-nc-ae-effxpv3.0SP1 | cz04 | PG&E | -80675.9664 | 12024.5844 | 54.23 | 157235.7546 | 65610.9841 | 169160.9794 | 0.41728 | 1.0758 | -91624.7705 | 11925.2248 | 6.834% | 39.23% | 47.55%
sh-nc-ae-effxpv3.0SP1 | cz04-2 | CPAU | -80675.9664 | 12024.5844 | 54.23 | 157235.7546 | 235128.0096 | 169160.9794 | 1.4954 | 1.0758 | 77892.255 | 11925.2248 | 6.834% | 39.23% | 47.55%
sh-nc-ae-effxpv3.0SP1 | cz05 | PG&E | -81372.4218 | 12428.8507 | 56.01 | 189147.1636 | 44049.7862 | 159866.7474 | 0.23289 | 0.8452 | -145097.3774 | -29280.4162 | 6.073% | 41.43% | 50.23%
sh-nc-ae-effxpv3.0SP1 | cz05-2 | SCG | -81372.4218 | 12428.8507 | 56.01 | 189147.1636 | -96903.7125 | 159866.7474 | -0.51232 | 0.8452 | -286050.8762 | -29280.4162 | 6.073% | 41.43% | 50.23%
sh-nc-ae-effxpv3.0SP1 | cz06 | SCE | -53029.0194 | 10126.7989 | 47.75 | 181281.9453 | -185479.877 | 182366.8676 | -1.0232 | 1.006 | -366761.8223 | 1084.9223 | 5.946% | 44.48% | 45.43%
sh-nc-ae-effxpv3.0SP1 | cz07 | SDG&E | -56332.0716 | 9975.3658 | 47.47 | 186582.5143 | -403553.5121 | 169954.2907 | -2.1629 | 0.91088 | -590136.0265 | -16628.2237 | 5.695% | 42.49% | 44.73%
sh-nc-ae-effxpv3.0SP1 | cz08 | SCE | -49842.1684 | 9874.858 | 46.82 | 184777.7181 | -134950.0128 | 190565.5655 | -0.73034 | 1.0313 | -319727.7309 | 5787.8474 | 5.719% | 43.26% | 42.66%
sh-nc-ae-effxpv3.0SP1 | cz09 | SCE | -50971.2486 | 10254.1431 | 48.39 | 181133.5428 | -122697.8732 | 198611.9034 | -0.67739 | 1.0965 | -303831.416 | 17478.3606 | 6.405% | 42.89% | 44.47%
sh-nc-ae-effxpv3.0SP1 | cz10 | SDG&E | -54959.0053 | 9922.9758 | 45.32 | 184506.3637 | -321927.5123 | 175223.1445 | -1.7448 | 0.94969 | -506433.876 | -9283.2192 | 7.022% | 40.49% | 44.46%
sh-nc-ae-effxpv3.0SP1 | cz10-2 | SCE | -54959.0053 | 9922.9758 | 45.32 | 184506.3637 | -122411.7432 | 175223.1445 | -0.66346 | 0.94969 | -306918.1069 | -9283.2192 | 7.022% | 40.49% | 44.46%
sh-nc-ae-effxpv3.0SP1 | cz11 | PG&E | -88707.034 | 12504.0617 | 54.73 | 185485.2304 | -124630.3161 | 173011.245 | -0.67192 | 0.93275 | -310115.5465 | -12473.9854 | 10.46% | 33% | 47.61%
sh-nc-ae-effxpv3.0SP1 | cz12 | PG&E | -88410.7837 | 11934.3396 | 51.55 | 150738.0105 | -147676.6686 | 148120.1661 | -0.97969 | 0.98263 | -298414.679 | -2617.8444 | 8.337% | 33.84% | 47.13%
sh-nc-ae-effxpv3.0SP1 | cz12-2 | SMUD | -88410.7837 | 11934.3396 | 51.55 | 150738.0105 | 150311.4931 | 148120.1661 | 0.99717 | 0.98263 | -426.5174 | -2617.8444 | 8.337% | 33.84% | 47.13%
sh-nc-ae-effxpv3.0SP1 | cz13 | PG&E | -72300.4295 | 11334.7131 | 50.33 | 151021.6577 | -79633.2388 | 168973.1252 | -0.5273 | 1.1189 | -230654.8966 | 17951.4674 | 8.147% | 32.5% | 44.66%
sh-nc-ae-effxpv3.0SP1 | cz14 | SDG&E | -70111.9338 | 12141.2043 | 53.96 | 178334.1317 | -368254.501 | 213866.2287 | -2.065 | 1.1992 | -546588.6327 | 35532.097 | 10.88% | 41.47% | 49.53%
sh-nc-ae-effxpv3.0SP1 | cz14-2 | SCE | -70111.9338 | 12141.2043 | 53.96 | 178334.1317 | -133957.4958 | 213866.2287 | -0.75116 | 1.1992 | -312291.6275 | 35532.097 | 10.88% | 41.47% | 49.53%
sh-nc-ae-effxpv3.0SP1 | cz15 | SCE | -30489.564 | 7901.9918 | 38.63 | 144928.8273 | -62565.7883 | 168403.7852 | -0.4317 | 1.162 | -207494.6157 | 23474.9579 | 6.324% | 32% | 36.86%
sh-nc-ae-effxpv3.0SP1 | cz16 | PG&E | -153417.3655 | 17367.4497 | 73.65 | 170139.5245 | -91976.8582 | 84966.0162 | -0.5406 | 0.49939 | -262116.3828 | -85173.5083 | 9.715% | 31.16% | 55.02%
Package | CZ | IOU territory | Annual Elec Savings (kWh) | Annual Gas Savings (therms) | Annual GHG savings (tons) | Upfront Incremental Package Cost | Lifecycle Energy Cost Savings | Lifecycle $TDV Savings | B/C Ratio (On-bill) | B/C Ratio (TDV) | NPV (On-bill) | NPV (TDV) | Efficiency TDV Margin (CBECC) | Total TDV Compliance Margin (CBECC) | Source kBtu Margin (CBECC)
sh-nc-ae-codept3.0SP1 | cz01 | PG&E | -250555.6276 | 16870.3684 | 69.63 | -470120.5728 | -527327.8312 | -44012.6174 | 0.89151 | 10.6815 | -57207.2585 | 426107.9554 | 4.736% | 5.032% | 48.99%
sh-nc-ae-codept3.0SP1 | cz02 | PG&E | -211909.8598 | 13220.716 | 52.89 | -526008.4271 | -439999.36 | -44732.8596 | 1.1955 | 11.7589 | 86009.0671 | 481275.5674 | 1.606% | 1.763% | 39.75%
sh-nc-ae-codept3.0SP1 | cz03 | PG&E | -202398.5074 | 12774.7679 | 51.89 | -510313.4077 | -415618.823 | -40583.7074 | 1.2278 | 12.5743 | 94694.5848 | 469729.7003 | 0.1538% | 0.1665% | 38.9%
sh-nc-ae-codept3.0SP1 | cz04 | PG&E | -192878.0873 | 12024.5844 | 48.99 | -511072.0388 | -371880.03 | -46449.3878 | 1.3743 | 11.0028 | 139192.0088 | 464622.651 | -0.9591% | -1.077% | 36.16%
sh-nc-ae-codept3.0SP1 | cz04-2 | CPAU | -192878.0873 | 12024.5844 | 48.99 | -511072.0388 | -73088.0028 | -46449.3878 | 6.9926 | 11.0028 | 437984.036 | 464622.651 | -0.9591% | -1.077% | 36.16%
sh-nc-ae-codept3.0SP1 | cz05 | PG&E | -200883.3657 | 12428.8507 | 50.09 | -452547.0879 | -414258.0196 | -54756.3667 | 1.0924 | 8.2647 | 38289.0682 | 397790.7212 | -0.8678% | -0.9671% | 37.68%
sh-nc-ae-codept3.0SP1 | cz05-2 | SCG | -200883.3657 | 12428.8507 | 50.09 | -452547.0879 | -555211.5184 | -54756.3667 | 0.81509 | 8.2647 | -102664.4305 | 397790.7212 | -0.8678% | -0.9671% | 37.68%
sh-nc-ae-codept3.0SP1 | cz06 | SCE | -170246.8252 | 10126.7989 | 41.66 | -451027.9985 | -423164.7552 | -39378.535 | 1.0658 | 11.4537 | 27863.2434 | 411649.4635 | -2.442% | -2.8% | 29.02%
sh-nc-ae-codept3.0SP1 | cz07 | SDG&E | -166762.7573 | 9975.3658 | 41.48 | -454780.1783 | -696750.7029 | -33263.1174 | 0.65272 | 13.6722 | -241970.5246 | 421517.0609 | -2.443% | -2.783% | 27.94%
sh-nc-ae-codept3.0SP1 | cz08 | SCE | -165334.184 | 9874.858 | 40.89 | -457318.5581 | -376948.257 | -42984.5886 | 1.2132 | 10.6391 | 80370.3011 | 414333.9695 | -2.825% | -3.231% | 26.83%
sh-nc-ae-codept3.0SP1 | cz09 | SCE | -169899.0615 | 10254.1431 | 42.24 | -452147.318 | -374620.429 | -32922.7959 | 1.2069 | 13.7336 | 77526.889 | 419224.5221 | -1.509% | -1.718% | 28.99%
sh-nc-ae-codept3.0SP1 | cz10 | SDG&E | -174667.482 | 9922.9758 | 39.18 | -457589.9125 | -654612.0338 | -52129.0681 | 0.69902 | 8.778 | -197022.1213 | 405460.8444 | -0.5218% | -0.5885% | 30.25%
sh-nc-ae-codept3.0SP1 | cz10-2 | SCE | -174667.482 | 9922.9758 | 39.18 | -457589.9125 | -386757.7936 | -52129.0681 | 1.1831 | 8.778 | 70832.1189 | 405460.8444 | -0.5218% | -0.5885% | 30.25%
sh-nc-ae-codept3.0SP1 | cz11 | PG&E | -200461.0755 | 12504.0617 | 49.38 | -457118.6279 | -598317.9757 | -34483.2787 | 0.76401 | 13.2562 | -141199.3478 | 422635.3492 | 3.461% | 3.754% | 38.67%
sh-nc-ae-codept3.0SP1 | cz12 | PG&E | -200718.7584 | 11934.3396 | 46.5 | -492207.773 | -605670.3482 | -57716.5999 | 0.81267 | 8.528 | -113462.5752 | 434491.1732 | 1.425% | 1.562% | 37.89%
sh-nc-ae-codept3.0SP1 | cz12-2 | SMUD | -200718.7584 | 11934.3396 | 46.5 | -492207.773 | -54311.5729 | -57716.5999 | 9.0627 | 8.528 | 437896.2001 | 434491.1732 | 1.425% | 1.562% | 37.89%
sh-nc-ae-codept3.0SP1 | cz13 | PG&E | -187631.7242 | 11334.7131 | 44.89 | -491063.6467 | -552826.5935 | -45841.9691 | 0.88828 | 10.7121 | -61762.9469 | 445221.6775 | 1.069% | 1.167% | 34.62%
sh-nc-ae-codept3.0SP1 | cz14 | SDG&E | -198201.5878 | 12141.2043 | 47.49 | -453556.7244 | -749956.6903 | -30042.6759 | 0.60478 | 15.0971 | -296399.9659 | 423514.0485 | 4.48% | 4.993% | 38.23%
sh-nc-ae-codept3.0SP1 | cz14-2 | SCE | -198201.5878 | 12141.2043 | 47.49 | -453556.7244 | -427950.193 | -30042.6759 | 1.0598 | 15.0971 | 25606.5314 | 423514.0485 | 4.48% | 4.993% | 38.23%
sh-nc-ae-codept3.0SP1 | cz15 | SCE | -141722.9913 | 7901.9918 | 32.28 | -468260.7565 | -303681.4565 | -45892.4834 | 1.5419 | 10.2034 | 164579.3 | 422368.2731 | -1.406% | -1.607% | 21.57%
sh-nc-ae-codept3.0SP1 | cz16 | PG&E | -271510.3289 | 17367.4497 | 69.11 | -471736.8414 | -575083.4435 | -99089.3894 | 0.82029 | 4.7607 | -103346.602 | 372647.452 | 8.354% | 8.916% | 49.54%

## Baseline
Medium Office - Mixed-fuel Baseline
Climate zone | Utility | Annual Electricity Consumption (kWh) | Annual Natural Gas Consumption (therms) | Total kTDV/ft2 | Total TDV Compliance kTDV/ft2 | Efficiency TDV Compliance kTDV/ft2 | GHG Emissions tons/yr | Total TDV Compliance Margin | Proposed Elec Utility Cost | Proposed Gas Utility Cost
CZ01 | PG&E | 184553.9481 | 5401.1511 | 131.2232 | 11.382 | 71.6125 | 65 | 4 | 82861 | 10159
CZ02 | PG&E | 161677.438 | 3339.876 | 126.4452 | 3.5534 | 102.1736 | 48 | 4 | 78107 | 6604
CZ03 | PG&E | 175219.5032 | 2733.8671 | 119.2691 | -0.9938 | 79.8904 | 45 | 2 | 80806 | 5383
CZ04 | PG&E | 147925.0006 | 2209.4956 | 101.5842 | -20.9689 | 94.1028 | 41 | 3 | 73954 | 4446
CZ04-2 | CPAU | 147925.0006 | 2209.4956 | 101.5842 | -20.9689 | 94.1028 | 41 | 3 | 31070 | 6222
CZ05 | PG&E | 169203.7639 | 2641.588 | 104.3252 | -14.3071 | 74.1818 | 43 | 3 | 78440 | 5171
CZ05-2 | SCG | 169203.7639 | 2641.588 | 104.3252 | -14.3071 | 74.1818 | 43 | 3 | 78440 | 3766
CZ06 | SCE | 162406.7725 | 1096.1352 | 107.9413 | -16.5325 | 98.8113 | 35 | 0 | 68120 | 1746
CZ07 | SDG&E | 168712.1731 | 727.8215 | 102.5187 | -17.5781 | 86.2509 | 33 | 1 | 101926 | 962
CZ08 | SCE | 190063.2925 | 934.9042 | 117.4881 | -9.5359 | 113.8363 | 37 | 2 | 73889 | 1527
CZ09 | SCE | 167089.2648 | 1161.1161 | 119.7855 | -8.899 | 113.6726 | 37 | 2 | 71339 | 1843
CZ10 | SDG&E | 182833.2895 | 1532.6242 | 126.0949 | 0.68551 | 119.8574 | 40 | 2 | 111178 | 1892
CZ10-2 | SCE | 182833.2895 | 1532.6242 | 126.0949 | 0.68551 | 119.8574 | 40 | 2 | 75228 | 2260
CZ11 | PG&E | 205984.9949 | 3446.6817 | 149.1675 | 29.2657 | 130.661 | 55 | 3 | 94268 | 7011
CZ12 | PG&E | 174905.9048 | 3007.6904 | 127.4213 | 7.4082 | 112.4333 | 49 | 3 | 82959 | 6127
CZ12-2 | SMUD | 174905.9048 | 3007.6904 | 127.4213 | 7.4082 | 112.4333 | 49 | 3 | 38959 | 6127
CZ13 | PG&E | 206794.751 | 2490.4645 | 146.2556 | 24.9933 | 131.8448 | 51 | 3 | 94094 | 5167
CZ14 | SDG&E | 153429.1745 | 3325.2664 | 132.055 | 3.9219 | 134.5607 | 48 | 3 | 104837 | 3984
CZ14-2 | SCE | 153429.1745 | 3325.2664 | 132.055 | 3.9219 | 134.5607 | 48 | 3 | 72993 | 4536
CZ15 | SCE | 206222.2447 | 660.8423 | 143.9275 | 19.895 | 164.4534 | 42 | 2 | 90472 | 1160
CZ16 | PG&E | 175846.8369 | 6284.5307 | 117.2802 | 0.7089 | 94.4094 | 66 | 4 | 80679 | 12302
Small Hotel - Mixed-fuel Baseline
Climate zone | Utility | Annual Electricity Consumption (kWh) | Annual Natural Gas Consumption (therms) | Total kTDV/ft2 | Total TDV Compliance kTDV/ft2 | Efficiency TDV Compliance kTDV/ft2 | GHG Emissions tons/yr | Total TDV Compliance Margin | Proposed Elec Utility Cost | Proposed Gas Utility Cost
CZ01 | PG&E | 234030 | 16870 | 301 | 163 | 174 | 137 | 7 | 98554 | 30803
CZ02 | PG&E | 247275 | 13221 | 288 | 153 | 169 | 117 | 97 | 104663 | 24256
CZ03 | PG&E | 236031 | 12775 | 273 | 137 | 151 | 113 | 55 | 99623 | 23273
CZ04 | PG&E | 245745 | 12025 | 276 | 141 | 158 | 110 | 5 | 104084 | 21922
CZ04-2 | CPAU | 245745 | 12025 | 276 | 141 | 158 | 110 | 5 | 52670 | 25500
CZ05 | PG&E | 236712 | 12429 | 266 | 129 | 144 | 111 | 5 | 99865 | 22499
CZ05-2 | SCG | 236712 | 12429 | 266 | 129 | 144 | 111 | 35 | 99865 | 14077
CZ06 | SCE | 255457 | 10127 | 262 | 125 | 143 | 100 | 4 | 59092 | 11640
CZ07 | SDG&E | 253875 | 9975 | 258 | 121 | 137 | 99 | 3 | 77745 | 11285
CZ08 | SCE | 274190 | 9875 | 270 | 137 | 156 | 100 | 3 | 66039 | 11377
CZ09 | SCE | 268969 | 10254 | 274 | 140 | 159 | 103 | 4 | 66358 | 11806
CZ10 | SDG&E | 279569 | 9923 | 276 | 142 | 161 | 102 | 3 | 90710 | 11320
CZ10-2 | SCE | 279569 | 9923 | 276 | 142 | 161 | 102 | 3 | 69317 | 11521
CZ11 | PG&E | 288602 | 12504 | 315 | 179 | 195 | 118 | 4 | 103192 | 23425
CZ12 | PG&E | 267151 | 11934 | 294 | 158 | 175 | 112 | 5 | 95850 | 22245
CZ12-2 | SMUD | 267151 | 11934 | 294 | 158 | 175 | 112 | 5 | 45926 | 22245
CZ13 | PG&E | 295792 | 11335 | 310 | 175 | 191 | 112 | 3 | 105833 | 21149
CZ14 | SDG&E | 280855 | 12141 | 300 | 168 | 188 | 115 | 4 | 88635 | 14234
CZ14-2 | SCE | 280855 | 12141 | 300 | 168 | 188 | 115 | 4 | 69460 | 14074
CZ15 | SCE | 339144 | 7902 | 303 | 168 | 192 | 97 | 3 | 83737 | 9449
CZ16 | PG&E | 250374 | 17367 | 319 | 181 | 195 | 143 | 4 | 105892 | 32292